**A BRIEF REVIEW OF TREATMENT METHODS FOR CERTAIN EMERGING CONTAMINANTS IN DOMESTIC AND INDUSTRIAL EFFLUENTS**

N. Renua, K. Sunilb

*a*Department of Chemistry

D.P. Vipra College,

Bilaspur, C.G., India.

nayarrenu9@gmail.com

*b*SURE Paryavaran Seva, India.

**ABSTRACT**

*Over the past few decades, there has been a significant surge in industrial activity driven by the ever-increasing demands of a growing global population. This exponential growth has resulted in the synthesis and subsequent discharge of a wide range of novel and complex emerging contaminants into the environment. These contaminants pose a significant threat due to their persistent and recalcitrant nature, making them resistant to degradation and removal by traditional wastewater treatment methods. The presence of these emerging contaminants in receiving waters serves as a clear indication of their ability to escape the confines of conventional treatment plants. This escape can be attributed to their unique and complex chemical compositions, which challenge the efficacy of existing treatment processes. Consequently, these contaminants have the potential to accumulate in the environment, disrupting ecosystems and posing risks to human health. Addressing this complex challenge requires the development of advanced treatment technologies capable of effectively removing these emerging contaminants from wastewater streams. Extensive research and innovation have led to the emergence of various promising approaches, including advanced oxidation processes, membrane filtration, and activated carbon adsorption, among others. These technologies aim to target and degrade the recalcitrant pollutants, ensuring their removal from wastewater before it is discharged into the environment. Understanding the nature and behavior of these emerging contaminants is crucial in designing tailored treatment strategies. Researchers and scientists have made significant efforts to identify and analyze specific emerging contaminants, such as pharmaceuticals, personal care products, endocrine disruptors, and microplastics, among others. By studying their properties, sources, and fate in the environment, it becomes possible to develop treatment methods that effectively mitigate their adverse effects. This article provides an overview of selected emerging contaminants and explores the various advanced wastewater treatment technologies that have been developed for their removal. By addressing this critical issue, we can safeguard human and environmental health, protect our water resources, and pave the way for a more sustainable and resilient future.*

**Keywords**- Wastewater; treatment technologies; emerging contaminants; health; environment

1. **INTRODUCTION**

Rising population and concomitant industrialization result in the generation of huge quantities of wastewater especially from industrial sectors such as sugar, paper and pulp, food processing, distilleries, dairies, tanneries, slaughterhouses, poultries, and other agricultural activities. The endless rise in the demands of the growing population has stimulated the development of increasingly innovative consumer products. Excessive consumer-oriented research and development activities are producing goods of comfort but at the same time are resulting in widespread contamination of the finite natural resources. The race for the development of innovative products has led to the emergence of new kinds of contaminants, the so-called contaminants of emerging concern (CEC) that include pharmaceuticals, hormones, personal care products, surfactants, microplastics, plasticizers, flame retardants, and nanoparticles. These CEC have been found to have adverse impacts on humans as well as their environment. For instance, pharmaceuticals are typically designed to be bioactive to treat human and animal ailments. However, when they escape treatment plants and are released into the environment, they have the potential to cause risks to non-target organisms. Conventional wastewater treatment plants are inadequate to treat some of these challenging contaminants and therefore, advanced wastewater treatment strategies are necessary. Advanced wastewater purification is becoming increasingly necessary as society mitigates the impacts of increased population, urbanization, industrialization, and the depletion of potable water [1]. Advanced technologies can improve wastewater quality to a much greater extent than is possible through conventional treatment thereby fulfilling the goal of resource recovery/conservation [1].

Wastewater can be defined as the transport of used water that is typically discharged from residential areas, institutions, commercial activities, or factories and is directed to treatment plants by a scientifically designed and engineered network of pipes. The key objectives of wastewater treatment are the removal of pollutants and the destruction of pathogens for the protection and preservation of our environment and human health. According to the American Institute of Chemical Engineers (AIChE), advanced wastewater treatment is any process that can reduce impurities in wastewater below what is attainable through conventional secondary or biological treatment [2]. Advanced wastewater treatment solutions have attracted global attention as individuals, communities, and industries identify ways to reduce CECs and keep essential natural resources available and suitable for use. In general, advanced wastewater treatment can be classified into biological process, physicochemical process, or a combination of both. The biological-based treatment removes nutrient pollutants such as nitrogen and phosphorus that otherwise result in widespread eutrophication. Some other types of advanced WWT technologies include sand filtration, ozone treatment, ultraviolet (UV) for disinfection of pathogenic microorganisms, membrane bioreactor (MBR), advanced oxidation processes (AOP), UV in combination with advanced oxidation, nanotechnology, and automatic variable filtration [3].

A typical wastewater treatment plant (WWTP) consists of different treatment methods that can be classified into physical, mechanical, biological, and chemical. Physical methods generally contain and control the flow of wastewater and promote contaminant removal. Mechanical methods include simple and complex machines. As the name suggests, the biological methods comprise of microorganisms that act on organic pollutants. Finally, to increase the efficiency of the process operations at various stages of the wastewater treatment the chemical treatment methods are applied. Conventional WWTPs are effective at removing many contaminants including nutrients, biodegradable organics, and pathogens from wastewater. However, such WWTPs are not designed to remove many of the emerging contaminants, persistent organic pollutants (POPs) such as PBDEs [4]. To address this important issue, the conventional WWTPs are modified to integrate one or more advanced WWT technologies depending on the nature of emerging contaminant(s) that needs to be removed. In this paper, we discuss the advantages and disadvantages of some of the new and emerging advanced wastewater treatment technologies for the removal of CECs. The Central Pollution Control Board (CPCB) of India sets allowable limits of various parameters on effluents discharged from a wastewater treatment plant to ensure the quality of our natural water resources. There are various considerations while establishing the thresholds depending on for example the size and nature of the receiving water body. Traditionally, these limits are set on typical parameters such as biochemical oxygen demand (BOD), chemical oxygen demand (COD), pH, total phosphorus (TP), total suspended solids (TSS), total Kjeldahl nitrogen (TKN), E. coli, and so on. Whereas there are established standards for these parameters there are none whatsoever for the emerging contaminants except for pharmaceuticals in some jurisdictions such as US FDA and EU that have set guidelines for their environmental concentrations at 1 and 0.01 μg/L, respectively. Some of the CECs tend to be present in very low concentrations and as a result, these CECs tend to remain unregulated and frequently get discharged unassessed into natural water bodies causing unnecessary exposure to flora, fauna, and human beings. Many of these CECs have potential adverse effects on humans and the environment. In a densely populated country such as India, the key focus should be wastewater management otherwise it will tend to have a negative impact on the health of its population. Regardless of the support from the government and private sector the scale of the problem of untreated wastewater polluting natural resources remains enormous. For instance, it is estimated that less than 20% of domestic and 60% of industrial wastewater is treated [5]. Whereas the large metropolitan cities are reported to treat approximately 30% of their wastewater the smaller cities can treat only about 4% [5]. Given the potential adverse impacts of untreated effluents, the focus over the past decades has been on modernizing the existing wastewater treatment processes with advanced technologies. Such advanced treatment technologies tend to reduce pollutants in effluents in addition to facilitating water recycling initiatives thereby minimizing the unavoidable loss of usable water. Water pollution has further aggravated the already precarious situation of water scarcity in several parts of the world. Inadequate management of water resources and unsustainable environmental practices are pushing countries including India into a drinking water crisis; this may subsequently lead to a lack of access to potable water for its majority population.

1. **BACKGROUND**

We have reviewed open literature and scientific reports from different sources to extract information on some of the emerging contaminants and the different wastewater treatment technologies for their removal. Advanced techniques for the removal of pharmaceuticals and pharmaceutical products from ground and surface waters have been extensively studied [6,7]. It has been reported that many organic micropollutants e.g. pharmaceuticals and pesticides that are present in wastewater are poorly removed in conventional wastewater treatment plants and as a result, these escape to reach natural waters where consumers receive unintended exposure to their non-therapeutic concentrations [8]. Several studies on the removal of pharmaceuticals from water and wastewater have been reported [9-12]. Hosseinnia et al. (2006) analyzed the ability of rice husk as a low-cost adsorbent for the removal of ionic and nonionic surfactants from wastewaters [9]. Ternes et al. (2002) reported that ozonation and filtration with granular activated carbon (GAC) were very effective in removing polar pharmaceuticals [11]. One study reported that since it is challenging for a lone technology to completely remove pharmaceuticals from wastewaters hence, it suggested using conventional treatment methods along with membrane reactors and advanced posttreatment methods as a hybrid wastewater treatment technology [12]. Commonly used plasticizers e.g. bis (2-ethylhexyl) phthalate (DEHP), bis (2-ethylhexyl) terephthalate (DEHTP), and bis (2-ethylhexyl) adipate (DEHA) are reported to be present in significant quantities in influents, process streams, treated effluent and solid residues in a sewage treatment plant of a metropolitan city [13]. The results reported by these authors indicated the inability of the treatment plant to eliminate plasticizers from the aqueous phase because a significant portion was ending up in solid residues. Shanmuganathan et al. (2018) investigated the presence of halogenated (both chlorinated and brominated) flame retardants e.g., (poly)brominated diphenyl ethers (PBDEs) at the North American wastewater treatment plants [14]. In a WWTP in Albany, NY, Kim et al. (2017) examined the presence and fate of organophosphate flame retardants (OPFRs) and plasticizers [15]. Investigations on the presence of various personal care products (PCPs) such as moisturizers, hair colors, deodorants, toothpaste [16], sunscreen [17], disinfectants, fragrances, and perfumes [18] in wastewaters has been reported in the literature. Removal of nanoparticles has been reported [19-21]. In their publication, Liu et al. (2021), reviewed the characteristics and removal of microplastics in nearly forty wastewater treatment plants covering more than ten countries [22]. The most effective microplastics removal was achieved using filter-based treatment technologies. Another review highlighted that microplastics are mainly removed through adhesion, sedimentation, and filtration with average removal efficiency < 90% and how it is affected by the choice of the wastewater treatment process and their properties e.g., size, density, and morphology [23].

1. **CONTAMINANTS OF EMERGING CONCERN**

Following are some of the key contaminants of emerging concern that we have taken as an example to illustrate and briefly discuss some of the new and advanced wastewater treatment technologies for their removal. In addition, we have also mentioned the adverse effects caused due to undue exposure of the environment and humans to these types of contaminants.

1. ***Pharmaceuticals***

Pharmaceuticals including veterinary drugs are emerging as one of the major sources of pollution in the environment. Typically known to save lives and treat diseases their presence in drinking water is now linked to potential adverse effects on aquatic fauna and humans [24]. Although most drugs tend to degrade in the environment their continual addition to natural waters in small but significant amounts leads to chronic exposure to flora and fauna. Effluent discharge from hospitals, for example, contains enough antibiotics, disinfectants, and other treatment drugs. Over five hundred pharmaceutical compounds have been found globally in influent, effluent, and sludge from wastewater treatment plants [25]. The sensitivity of analytical instruments has increased multi-fold in recent times leading to the determination of thousands of pharmaceutical drugs present at micro and nanogram levels in natural waters. Conventional wastewater treatment plants have very low removal efficiencies for drugs as these are generally designed for organic loads in the milligram levels. It is well-known that chemicals such as pharmaceutical drugs exert endocrine disruption effects on aquatic organisms and humans upon exposure at very low (non-therapeutic) concentrations. One of the ways to remove organic chemicals from the aqueous phase is by adsorption using activated carbon. Compared to ozone the advanced oxidation treatment methodologies provide only an incremental improvement in removal efficiency. According to Patel et al. (2019), low-pressure microfiltration (MF) and ultrafiltration (UF) membranes have pore sizes that are not well suited for the retention of pharmaceuticals and MF or UF did not exhibit any additional removal of pharmaceuticals when used in the membrane bioreactor (MBR) process [24]. However, they found high-pressure membranes more effective in the separation of many pharmaceuticals from water when used in reverse osmosis (RO) and nanofiltration (NF). They also suggested that natural processes, including soil-aquifer treatment (SAT) and riverbank filtration (RBF) that perform like a slow-sand filter with extended retention times, could be used as additional treatment steps for either wastewater reclamation or as a drinking water pre-treatment. The authors found these processes to be very effective at reducing a wide range of trace organic chemicals including pharmaceuticals by adsorption and biotransformation. When methods such as reverse osmosis (RO) and micro-, nano-, and ultrafiltration were tested for the elimination of pharmaceutical drugs from water and wastewater, RO and nanofiltration methods were found to successfully remove >85% of many non-steroidal anti-inflammatory drugs (NSAID) from groundwater [26]. Some drugs were removed with greater than 99% efficiency using electrodialysis [27]. These physical separations can be amplified by using electrochemical advanced oxidation in combination to effectively eliminate pharmaceuticals [28]. In relative terms, nanofiltration and reverse osmosis were able to achieve higher levels of removal of pharmaceuticals compared to micro and ultrafiltration techniques [29]. For instance, nanofiltration was reported to achieve greater than 90% removal levels from water and wastewaters, and reverse osmosis was able to remove more than 90% of pharmaceuticals that had specific physicochemical properties that made those chemicals amenable to that technique [10,30]. Photochemical AOPs, ozone-based AOPs (O3/H2O2, O3/UV), and photo-Fenton processes were typically found to be more effective than ozonation alone. Akhil et al. (2021) discussed a variety of remediation methods for the removal of antibiotics and found that about 95 to 98% removal efficiency was achieved using treatment methods such as nanofilters, reverse osmosis, sono-/photo-catalysis and ozonation [31]. A recent study reported about 94% removal of emerging pharmaceuticals such as metronidazole, chloramphenicol and sulfonamide using a treatment method based on electrochemical and adsorption [32].

1. ***Hormones***

Estrogen and progestin are some of the natural hormones that play a key role in the proper functioning of the female reproductive system, whereas androgens regulate the male sex organs [33]. Many types of contraceptives, hormone therapies, and veterinary drugs contain natural and synthetic hormones that are designed to interfere with the natural hormonal system of the body. However, their release into the environment especially aquatic poses a threat to organisms and their reproduction systems causing adverse effects. When humans get exposed to such hormones e.g. estrogens, through food/drinking water they suffer unintended adverse effects such as the increased risk of breast cancer in females [34] and prostate cancer in men [35]. Continuous exposure to endocrine-disrupting chemicals even at low concentrations brings risk to pregnant women, fetuses, and infants. For instance, exposure to endocrine-disrupting chemicals has been associated with various disorders including reproductive and endocrine (e.g. breast or prostate cancer, infertility, diabetes, early puberty), immune/autoimmune, cardiopulmonary (e.g. diseases of heart, asthma), and nervous systems (e.g. Alzheimer, Parkinson and ADHD (attention deficit hyperactivity disorder)) [33]. Ultrasound is efficient in reducing the estrogen (E1) and 17 beta-estradiol (E2) from municipal wastewater [36]. They studied the effects of power, frequency, exposure time, and pH on hormonal reduction efficiency. Using electrochemiluminescence to measure the residual concentration of E1 and E2 hormones in reactor effluent they reported the efficiency of ultrasound in reducing their concentration in the range of 85–96%. In addition to low energy consumption, the ultrasound method also prevented the formation of harmful by-products.

1. ***Personal care products (PCPs)***

People use a variety of personal care products for different purposes ranging from cleaning (toothpaste, shampoos), protection (sunscreens), and healthcare products to keep oneself in good condition (skin creams, moisturizers). After their use, a significant amount of these products go down the drain and enter the environment via the ‘‘wastewater– sewage plant—receiving water’’ route thereby polluting the aquatic environment. A significant amount of these PCPs come off the body during say bathing and get added to the domestic wastewater. Thus, a sizeable number of PCPs are consumed daily and washed off into domestic wastes therefore, their presence in different environmental compartments (water, air, soil) is no surprise. For example, in Germany alone, approximately 790,000 tons of PCPs are produced annually [37]. PCPs include numerous chemicals such as fatty alcohols, glycerol esters, paraffins, and waxes that encompass a wide range of physicochemical properties. Their environmental fate depends largely on their physicochemical properties (water solubility, adsorption, volatility, biodegradability). Biodegradability in turn depends on the nature of microorganisms present in sewage treatment plants, surface waters, and soils. Dhodapkar and Gandhi (2019) extensively discussed the classification and possible environmental sources of personal care products, their fate, pathways, persistence, and ecotoxicological profile focusing on the aquatic environment [38]. They also described the efficiency and limitations of the existing conventional/advanced water/wastewater treatment systems in the removal of these compounds. PCPs enter the environment through various routes like absorption by the body during therapeutic use followed by excretion and discharge into sewage systems [39]. PCP manufacturing facilities tend to discharge polluted effluents directly into natural waters [39]. Fick et al. (2019) reported that adsorption generally facilitates the transportation of PCPs through water or sludge [40]. For efficient mineralization of recalcitrant and refractory species advanced oxidation processes (AOPs) have shown great promise. The combination of ionizing irradiation with other methods such as H2O2, ozonation, and TiO2 nanoparticles has been indicated not only to be economical but also to improve the degradation efficacy of PCPs in an aqueous solution.

1. ***Surfactants***

One of the emerging contaminants belongs to the class of chemicals known as surfactants. These are generally found in cleaning products (detergents) and cosmetic rinse-off products, hence, are present in domestic wastewaters. Surfactants function by detaching soils from solid surfaces like textiles and human hair/skin. Since these cleaning products are in use regularly, they are found in the natural waters and have been reported to cause adverse effects on human health and the environment [41]. Generally, it has been observed that a large majority of surfactants used in PCPs are readily biodegradable when released into the environment. However, chronic exposure even at low concentrations to aquatic fauna may have potentially toxic effects on them leading to adverse effects on their growth and reproduction [39]. Numerous negative effects that surfactants have on wildlife and, in high concentrations, on humans have been presented [42,43]. For instance, Linear alkylbenzene sulfonate (LAS) causes irritation of the skin and problems to the respiratory system [44]. Moreover, in 2017, another surfactant i.e. Perfluorooctanoic Acid (PFOA), used in industrial processing, has been included by the IARC in the list of possible carcinogenic compounds - class 2B and considered potentially toxic for human reproduction [45]. The removal efficiency especially of non-ionic surfactants (TAS) and anionic surfactants (MBAS) from real laundry wastewater using a thermophilic aerobic membrane reactor (TAMR), nanofiltration (NF) and adsorption on activated carbon (AC) has been investigated [46]. It was reported that the optimal combination of processes for the removal of TAS and MBAS for instance, TAMR + NF + AC sequence allowed almost complete removal of TAS (> 95%) and high removal of MBAS (> 76%) although at a higher cost [47]. Another study reported the pH-dependent ability of rice husk adsorbent to remove up to 97% of ionic and non-ionic surfactants in wastewater [9].

1. ***Microplastics***

Plastic fragments that are ≤5 mm in size fall under the category of microplastics (MP) [48]. It has been reported that the annual global production of plastics tops 300 mega tons [49]. Consequently, microplastics are found ubiquitously in our environment exposing flora, fauna, and humans to it and the study of their potential adverse effects has become essential [50,51]. MPs enter the environmental compartments via food packaging, textiles, tires, and other plastic materials. Plasticizer additives have long been associated with endocrine-disrupting properties hence, there is a growing concern over the potential adverse effects of MPs on the environment and human health [52]. Over 114 aquatic species have been reported to contain traces of microplastics. As such, the MPs are recalcitrant and are a source of air pollution, occurring in dust and airborne fibrous particles. Boucher and Friot (2017) identified and evaluated seven major sources of primary microplastics such as tires, synthetic textiles, marine coatings, road markings, personal care products, plastic pellets, and city dust [50]. Some of the key causes of MPs are bottled drinks, seafood, and food packaging. A recent review highlighted the evidence for the trophic transfer of microplastics and contaminants within marine food webs [53]. A variety of toxic responses in the form of oxidative stress, inflammatory lesions, and increased uptake or translocation are associated with exposure to MPs and some of them reported effects such as metabolic disturbances, neurotoxicity, and increased cancer risk. Exposure of MPs via oral and inhalation routes has been reported to cause adverse effects e.g. particle toxicity that leads to oxidative stress, secretion of cytokines, cellular damage, inflammatory and immune reactions. MPs tend to travel through waterways finally ending up in the ecosystems that shelter a range of marine life (algae, planktons, turtles, fish). Studies investigating technologies for the removal of MPs from effluents found that filter-based treatment technologies were among the best [22]. The authors reported that fibers and MPs particle size ranging from 0.5–5 mm were easily separated by primary settling whereas those such as polyethylene and small-particle size MPs (<0.5 mm) were easily trapped by bacteria in the activated sludge of the bioreactor system. They also described how the advanced oxidation process affected the physicochemical properties by breaking and making new bonds in the MPs molecular structure and how interactions between MPs and the membrane pores and surface using membrane filtration technology-facilitated easy adsorption of MPs onto the membrane surface. In a large study encompassing 21 sites, microplastic removal rates were reported to be around 88-94% employing secondary and tertiary wastewater treatment and about 72% by preliminary and primary treatment [54].

1. ***Plasticizers***

Plasticizers are colorless and odorless esters e.g. phthalates, that increase the elasticity of a material such as polyvinylchloride (PVC). The key role of plasticizers is to make the PVC soft, flexible and bendable. Plasticizers confer durability to PVC increasing its usable, high-performance life close to 50 years. More than 90% of the global plasticizer production is dominated by phthalate esters e.g. Di-2-ethylhexyl phthalate (DEHP) alone accounts for about 50% of the production [55,56]. These esters are ubiquitous in the sense that they are used in a wide range of consumer products e.g. children's toys, cosmetics, food packaging materials, medical equipment can linings, etc. It is, therefore, no surprise that DEHP is amongst the most abundant organic contaminants in urban wastewaters and sewage and has been classified as a priority organic pollutant [57]. Biodegradation of plasticizers e.g. DEHP and di-ethylhexyl adipate (DEHA) were reported to generate toxic metabolites such as 2-ethyl hexanoic acid, 2-ethyl hexanol, and 2-ethyl hexanol that have the potential to cause adverse environmental and human health impacts upon exposure [58]. Phthalates are known endocrine disruptors and are associated with decreased fecundity, pregnancy loss, and adverse obstetrical outcomes [59]. An ozonation-based study reported how varying the pH from 3 to 10 resulted in the removal of bisphenols in the range of 6-100% [60]. One of the effective treatment technologies for the removal of plasticizers is ozone microbubble oxidation. Another study reported bisphenol removal efficiencies greater than 99% from aquatic environments by application of a novel UV/SPS/H2O2/Cu system [61].

1. ***Flame retardants***

Flame retardants (FRs) are chemicals that are added to household and consumer products to prevent fire hazards. These chemicals have very low water solubility and tend to be hydrophobic. Owing to their low mobility in the environment the FRs tend to accumulate in wastewater, sewage sludge, soils, and in riverbeds [62]. These authors evaluated sewage treatment methods and their results indicated that using the biological N and P elimination treatment method can contribute to the decrease of flame-retardant concentrations in sludge. Due to the potential for the bioaccumulation of this class of chemicals from sludge-treated soils in food chains, thereby contributing to wildlife and human exposure to these chemicals. Lee and Kim (2017) investigated the occurrence and fate of 19 congeners of polybrominated diphenyl ethers (PBDEs) in two WWTPs in Korea [63]. The authors reported that PBDEs were found to exist mostly in the particulate phase of wastewater, which rendered sedimentation efficient for the removal of PBDEs that ended up in the sludge and only 2% found their way into final discharge. New methods of bioremediation such as the use of spent mushroom compost that shows high TBBPA removal efficiency should be considered. Another type of FRs is the organophosphate esters (OPEs) which are currently used in a wide range of consumer products as flame retardants [64]. OPEs are also used as antifoaming stabilizers in industrial processes and as additives in paints, glues, lubricants, lacquers, floor polishes, and hydraulic fluids. The presence of OPFRs has been reported in indoor air, house dust, and surface waters [65]. Studies conducted by Zeng et al. (2015) revealed that wastewater treatment plants were efficient in the removal of non-chlorinated OPs but not the chlorinated ones due to their resistance to current WW treatment technologies [66]. Pang et al. (2016) compared wastewater treatment processes e.g. anoxic–oxic (AO) and University of Cape Town (UCT) processes to investigate the removal efficiency of OPs and their results revealed better removal efficiency by UCT process compared to that of the AO process [67].

1. ***Nanoparticles***

The nanotechnology industry has seen rapid growth in recent years. This has led to increased production and consumption of nanomaterials and engineered nanoparticles (NP) in common household products e.g. cosmetics, clothing, sun-creams, and food packaging. These NP tend to enhance their existing properties and/or add new benefits such as an improved texture or a longer shelf-life. For instance, silver nanoparticles are relatively economical and possess strong anti-microbial properties. Like every other product, these nanoparticles also find their way into the environment via domestic sewage. NPs tend to penetrate the food chain by way of accumulating in flora and fauna that get exposed to it. Some important emerging nanomaterials and their character are described here in brief. Carbon-based nanomaterials such as Fullerenes (Carbon 60) Buckyballs (Carbon 20, Carbon 70), carbon nanotubes; nanodiamonds, and nanowires are stable and less reactive and find applications in biomedicals, super-capacitors, sensors, and photovoltaics [68,69]. Metal Oxides nanomaterials like Titanium dioxide (TiO2), zinc oxide (ZnO), cerium oxide (CeO2) have photocatalytic properties, and ultraviolet (UV) absorbing ability and are therefore widely used in sunscreens. Nano-TiO2 and nano ZnO are also used in photocatalysis, pigments, drug release, medical diagnostics, UV absorber in sunscreen, diesel fuel additive, and remediation. Similarly, nano silver (10 to 200 nm) is made up of many atoms of silver in the form of silver ions [69,70]. Due to their high surface reactivity and strong antimicrobial properties, they are used in a wide variety of commercial products, medical applications, water purification, and antimicrobials. Composite NMs made with two different NMs or NMs combined with nanosized clay and with synthetic polymers or resins are found in novel electrical, magnetic, mechanical, thermal, or imaging features [68,71]. Some studies have revealed that due to their small size the NMs tend to have the potential to pass through both the blood-brain barrier (BBB) and the placenta. For example, a recent study showed that nano anatase TiO2 may pass the BBB of mice when injected with high doses [72]. NMs e.g. TiO2 and ZnO present in sunscreens may cause dermal exposure depending on the properties of the sunscreen and the condition of the skin. For instance, as opposed to a healthy skin where the epidermis is likely to prevent NM migration to the dermis a damaged skin, on the other hand, may allow NMs to penetrate the dermis and reach regional lymph nodes as suggested by quantum dots [73,74]. Some NMs contain metals that have the potential to cause toxicity to cells by releasing harmful trace elements or chemical ions. For instance, silver NMs may release silver ions that can interact with proteins and inactivate vital enzymes. Heavy metals, for example, cadmium, and lead that are used in quantum dots are known to be reproductive and developmental toxicants [75]. Nevertheless, owing to factors such as the concentration of metal in the source, the estimates of releases of metals from NMs are rather crude [69,70]. Due to their ability to eliminate bad bacteria the silver nanoparticles (AgNP) are frequently used in consumer products and as a result find their way into domestic sewage, WWTP,s and subsequently get discharged into the natural waters [76,77]. However, their toxic nature also ends up killing the good bacterial species present in the WWTP [78]. The AgNP seems to stop the reproduction of the good bacterial species by generating distinctive chemicals such as the reactive oxygen species (ROS) [79]. This necessitates another treatment for the removal of AgNPs. Syafiuddin and coworkers (2019) investigated the performance of activated carbon derived from agricultural waste for the removal of AgNPs from water. They were able to tap the electrostatic forces e.g. van der Waals and London dispersion forces present in activated carbon to successfully adsorb and remove AgNP from waters [80].

For the above-referred set of eight CECs, we found that there are various advanced treatment technologies available for their effective removal. Figure 1 illustrates the nature of advanced purification technologies that are applied to each of contaminants of emerging concern and their removal efficiency.

1. **CONCLUSION**

The ever-growing population and their endless demands have been exerting tremendous pressure on industries to continuously innovate consumer products. This has resulted in the release of new kinds of pollutants better known as contaminants of emerging concern (CEC) e.g. pharmaceuticals, hormones, personal care products, surfactants, microplastics, plasticizers, flame retardants, and nanoparticles. The presence of the CECs in natural waters and the environment unnecessarily exposes flora, fauna, and human beings to them causing adverse effects. Since conventional treatment methods fail to remove these CECs the key challenge was to develop newer advanced treatment technologies to efficiently prevent their escape into the environment. In this chapter, we have briefly described some of the key CECs and the different types of advanced wastewater treatment techniques and their removal efficiencies (Figure 1).

Activated carbon adsorption (ACA) seems to be the common method of choice when it comes to the removal of different CECs both from the point of view of ease of application as well as the low costs associated with its implementation. Nanoparticles and some of the pharmaceuticals have been the most challenging CECs and the existing treatment methods are not yet able to remove them completely. As seen in Figure 1, the lowest removal rates (lower end numbers) are observed for the pharmaceuticals and PCPs which are also one of those contaminants that cause endocrine disruption effects to humans exposed to them. The maximum removal efficiency of up to 99.9% was reported for microplastics by using FBTT and MBR techniques. In real life situation, a wastewater stream would tend to contain most of these emerging pollutants together as a mixture. Therefore, the selection of a specific WWT technology or a proper combination of one or more advanced WWT would be crucial to remove the CECs.

**REFERENCES**

1. WWD (2021). https://www.wwdmag.com/what-articles/what-advanced-wastewater-treatment.
2. Tuser C. (2021) What is advanced wastewater treatment? Water and wastes digest. https://www.wwdmag.com/what-articles/what-advanced-wastewater-treatment.
3. Høibye L., Clauson-Kaas J., Wenzel H., Larsen H.F., Jacobsen B.N. and Dalgaard O. Sustainability Assessment of Advanced Wastewater Treatment Technologies. *Water science and technology: A journal of the International Association on Water Pollution Research*, 2008, **58**, 963-8.
4. Kim M., Guerra P., Theocharides M., Barclay K., Smyth S.A. and Alaee M. Parameters affecting the occurrence and removal of polybrominated diphenyl ethers in twenty Canadian wastewater treatment plants. *Water Research*, 2013, **47** (7), 2213–2221.
5. CPCB (2009). Status of water supply, wastewater generation and treatment in class-I cities & class-II towns of India. Control of urban pollution series: CUPS/ 70 / 2009 – 10.
6. Angeles L.F., Mullen R.A., Huang I.J., Wilson C., Khanjar W., Sirotkin H.I., McElroy A.E. and Aga D.S. Assessing pharmaceutical removal and reduction in toxicity provided by advanced wastewater treatment systems. *Environ. Sci.:* *Water Res. Technol*., 2020, **6**, 62-77.
7. Taoufik N., Boumya W., Janani F.Z., Elhalil A., Mahjoubi F.Z. and Barka N. Removal of emerging pharmaceutical pollutants: A systematic mapping study review. *J Environ Chem Engg*, 2020, **8**(5), 104251.
8. Margot J., Kienle C., Magnet A., Weil M., Rossi L., de Alencastro L.F., Abegglen C., Thonney D., Chèvre N., Schärer M. and Barry D.A. Treatment of micropollutants in municipal wastewater: Ozone or powdered activated carbon? *Sci Total Environ*. 2013, 461-462: 480-98.
9. Hosseinnia A., Hashtroudi M.S., Pazouki M. and Banifatemi M. Removal of surfactants from wastewater by rice husk. *Iranian J. Chem. Engg*., 2006, **3**, 3.
10. Lopera A. E-C., Ruiz S.G. and Alonso J.M.Q. Removal of emerging contaminants from wastewater using reverse osmosis for its subsequent reuse: Pilot plant. *J Water Process Engineering*, 2019, **29**, 100800.
11. Ternes T.A., Meisenheimer M., McDowell D., Sacher F., Brauch H-J., Haist-Gulde B., Preuss G., Wilme U. and Zulei-Seibert N. Removal of Pharmaceuticals during Drinking Water Treatment. *Environ Sci Tech*. 2002, **36** (17), 3855-3863.
12. Gadipelly C., Pérez-González A., Yadav G.D., Ortiz I., Ibáñez R., Rathod V.K. and Marathe K.V. Pharmaceutical Industry Wastewater: Review of the Technologies for Water Treatment and Reuse. *Industrial & Engineering Chemistry Research*. 2014, **53** (29), 11571-11592.
13. Barnabe S., Beauchesne I., Cooper D.G. and Nicella J.A. Plasticizers and their degradation products in the process streams of a large urban physicochemical sewage treatment plant. *Water Res*., 2008, **42**, 153 – 162.
14. Shanmuganathan M., Zhang Z., Sverko E., Brymer R., Gill B., Smyth S.A. and Marvin C.H. Analysis of halogenated flame retardants in Canadian wastewater treatment plants using gas chromatography–tandem mass spectrometry (GC-MS/MS). *Water Quality Res*., 2018, **53**, 4.
15. Kim U.J., Oh J.K. and Kannan K. Occurrence, removal, and environmental emission of organophosphate flame retardants/plasticizers in a wastewater treatment plant in New York state. *Environ. Sci. Technol*., 2017, **51**, 7872−7880.
16. Boxall A.B., Rudd M.A., Brooks B.W., Caldwell D.J., Choi K., Hickmann S., Innes E., Ostapyk K., Staveley J.P., Verslycke T., Ankley G.T., Beazley K.F., Belanger S.E., Berninger J.P., Carriquiriborde P., Coors A., Deleo P.C., Dyer S.D., Ericson J.F., Gagné F., Giesy J.P., Gouin T., Hallstrom L., Karlsson M.V., Larsson D.G., Lazorchak J.M., Mastrocco F., McLaughlin A., McMaster M.E., Meyerhoff R.D., Moore R., Parrott J.L., Snape J.R., Murray-Smith R., Servos M.R., Sibley P.K., Straub J.O., Szabo N.D., Topp E., Tetreault G.R., Trudeau V.L. and Van Der Kraak G. Pharmaceuticals and personal care products in the environment: what are the big questions? *Environ Health Perspect*., 2012, **120**(9):1221-9.
17. Claudia J. and Magrini G.A. Cosmetic Ingredients as Emerging Pollutants of Environmental and Health Concern. A Mini-Review. *Cosmetics*, 2017, **4**(2), 11.
18. Zhang A., Li Y., Song Y., Lv J. and Yang J. Characterization of pharmaceuticals and personal care products as N-nitrosodimethylamine precursors during disinfection processes using free chlorine and chlorine dioxide. *J Hazard Mater*, 2014, **276**, 499-509.
19. Syafiuddin, A., Salmiati, S., Hadibarata, T., Salim M.R., Kuen A., Hong B. and Suhartono S. Removal of Silver Nanoparticles from Water Environment: Experimental, Mathematical Formulation, and Cost Analysis. *Water Air Soil Pollut*., 2019, **230**, 102.
20. Honda, R. J., Keene, V., Daniels, L. and Walker, S.L. Removal of TiO2 Nanoparticles During Primary Water Treatment: Role of Coagulant Type, Dose, and Nanoparticle Concentration. *Environmental engineering science*, 2014, **31**(3), 127–134.
21. Zhang Y., Chen Y., Westerhoff P. and Crittenden J.C. Stability and Removal of Water Soluble CdTe Quantum Dots in Water. *Environ Sci Tech*, 2008, **42** (1), 321-325.
22. Liu W., Zhang J., Liu H., Guo X., Zhang X., Yao X., Cao Z. and Zhang T. A review of the removal of microplastics in global wastewater treatment plants: Characteristics and mechanisms, *Environment International*, 2021, **146**, 106277.
23. Xu Z., Bai X. and Ye, Z. Removal and generation of microplastics in wastewater treatment plants: A review. *J. Cleaner Production*, 2021, **291**, 125982.
24. Patel M., Kumar R., Kishor K., Mlsna T., Pittman C.U. and Mohan D. Pharmaceuticals of Emerging Concern in Aquatic Systems: Chemistry, Occurrence, Effects, and Removal Methods. *Chemical Reviews*, 2019, **119** (6), 3510-3673.
25. Beek T., Weber F.A., Bergmann A., Hickmann S., Ebert I., Hein A. and Küster A. Pharmaceuticals in the environment--Global occurrences and perspectives. *Environ Toxicol Chem*., 2016, **35**(4):823-35.
26. Radjenović, J., Petrović, M., Ventura, F. and Barceló, D. Rejection of Pharmaceuticals in Nanofiltration and Reverse Osmosis Membrane Drinking Water Treatment. *Water Res*., 2008, **42**, 3601– 3610.
27. Escher, B. I., Pronk, W., Suter, M. J.-F. and Maurer, M. Monitoring the Removal Efficiency of Pharmaceuticals and Hormones in Different Treatment Processes of Source-Separated Urine with Bioassays. *Environ. Sci. Technol*., 2006, **40**, 5095– 5101.
28. Sirés, I. and Brillas, E. Remediation of Water Pollution Caused by Pharmaceutical Residues Based on Electrochemical Separation and Degradation Technologies: A Review. *Environ. Int*., 2012, **40**, 212– 229.
29. Snyder, S. A., Adham, S., Redding, A. M., Cannon, F. S., DeCarolis, J., Oppenheimer, J., Wert, E. C. and Yoon, Y. Role of Membranes and Activated Carbon in the Removal of Endocrine Disruptors and Pharmaceuticals. *Desalination*, 2007, **202**, 156– 181.
30. Bolong, N., Ismail, A., Salim, M. R. and Matsuura, T. A Review of the Effects of Emerging Contaminants in Wastewater and Options for Their Removal. *Desalination*, 2009, **239**, 229– 246.
31. Akhil, D., Lakshmi, D., Senthil Kumar, P., D-V.N. Vo, and Kartik A. Occurrence and removal of antibiotics from industrial wastewater. *Environ Chem Lett*, 2021, **19**, 1477–1507.
32. Pavithra KG, Vasudevan J, Ponnusamy SK, and Panneerselvam S. Removal of emerging pollutants from aquatic system using electrochemical treatment and adsorption: Comparison and analysis, *Environmental Technology & Innovation*, 2021, **23**, 101754.
33. WHO (2012). State of the science of endocrine disrupting chemicals. Edited by Åke Bergman, Jerrold J. Heindel, Susan Jobling, Karen A. Kidd, R. Thomas Zoeller.
34. Moore S.C., Matthews C.E., Shu X.O., Yu K., Gail M.H., Xu X., Ji B.-T., Chow W.-H., Cai Q. and Li. H. Endogenous estrogens, estrogen metabolites, and breast cancer risk in postmenopausal Chinese women. *J. Nat. Cancer Inst*., 2016, 108.
35. Nelles J.L., Hu W.Y. and Prins G.S. Estrogen action and prostate cancer. *Expert Rev Endocrinol Metab*., 2011, **6**(3):437-451.
36. Roudbari A. and Rezakazemi M. Hormones removal from municipal wastewater using ultrasound. *AMB Express*, 2018, **8**(1): 91.
37. Umbach W., ed.: Kosmetik und Hygiene von Kopf bis Fuß. Wiley-VCH, Weinheim, 2004, Germany. pp., 1-9
38. Dhodapkar R.S. and Gandhi K.N. 3 - Pharmaceuticals and personal care products in aquatic environment: chemicals of emerging concern? Editor(s): Majeti Narasimha Vara Prasad, Meththika Vithanage, Atya Kapley, Pharmaceuticals and Personal Care Products: Waste Management and Treatment Technology, Butterworth-Heinemann, 2019, pp. 63-85.
39. Ebele A.J., Abdallah M. and Harrad S. Pharmaceuticals and personal care products (PPCPs) in the freshwater aquatic environment. *Emerging Contaminants*, 2017, **3**(1), 1-16.
40. Fick J., Söderström H., Lindberg R.H., Phan C., Tysklind M. and Larsson D.G. Contamination of surface, ground, and drinking water from pharmaceutical production. *Environ Toxicol Chem*., 2009, **28**(12), 2522-7.
41. Ramprasad C. and Philip L. Surfactants and personal care products removal in pilot scale horizontal and vertical flow constructed wetlands while treating greywater. *Chemical Engineering Journal*, 2015, 284.
42. Lechuga M., Fernández-Serrano M., Jurado E., Núñez-Olea J. and Ríos F. Acute toxicity of anionic and non-ionic surfactants to aquatic organisms. *Ecotoxicol Environ Saf*., 2016, **125**,1-8.
43. Palmer M. and Hatley H. The role of surfactants in wastewater treatment: Impact, removal and future techniques: A critical review. *Water Res*., 2018, **15**, 147, 60-72.
44. Hutchinson, L. HERA update—1 year is standard. *Nat Rev Clin Oncol*, 2013, **10**, 546.
45. Temkin, A. M., Hocevar, B. A., Andrews, D. Q., Naidenko, O. V., and Kamendulis, L. M. Application of the Key Characteristics of Carcinogens to Per and Polyfluoroalkyl Substances. *International journal of environmental research and public health*, 2020, **17**(5), 1668.
46. Collivignarelli M.C. Miino M., Baldi, M,, Manzi S., Abbà A. and Bertanza G. Removal of non-ionic and anionic surfactants from real laundry wastewater by means of a full-scale treatment system. *Process Safety and Environmental Protection*, 2019, **132**, 105-115.
47. Collivignarelli MC, Carnevale Miino M, Caccamo FM, Baldi M and Abbà A. Performance of Full-Scale Thermophilic Membrane Bioreactor and Assessment of the Effect of the Aqueous Residue on Mesophilic Biological Activity. *Water*, 2021, **13**(13), 1754.
48. Thompson R.C., Olsen Y., Mitchell R.P., Davis A., Rowland S.J., John A.W.G., McGonigle D., and Russell A.E. Lost at sea: where is all the plastic? *Science*, 2004, **304**, 5672.
49. Lebreton, L. and Andrady, A. Future scenarios of global plastic waste generation and disposal. *Palgrave Commun*, 2019, **5**, 6.
50. Boucher, J. and Friot, D. (2017). Primary microplastics in the oceans: A global evaluation of sources. IUCN, Gland, Switzerland.
51. Gall S.C. and Thompson R.C. The impact of debris on marine life. *Mar. Pollut. Bull*., 2015, **92**, 170-179.
52. Rist S., Almroth B.C., Hartmann N.B. and Karlsson T.M. A critical perspective on early communications concerning human health aspects of microplastics. *Sci Total Environ.*, 2018, **626**, 720726.
53. Carbery M., O’Connor W., and Palanisami T. Trophic transfer of microplastics and mixed contaminants in the marine food web and implications for human health. *Environ. Int*., 2018, **115**, 400-409.
54. Iyare P.U., Oukia S.K. and Bond T. Microplastics removal in wastewater treatment plants: a critical review. *Environ. Sci. Water Res. Technol*., 2020, **6**, 2664-2675.
55. Rahman, M., and Brazel, C.S. The plasticizer market: an assessment of traditional plasticizers and research trends to meet new challenges. *Prog. Polym. Sci*., 2004, **29**, 1223–1248.
56. Koch, H.M., Drexler, H., and Angerer, J. An estimation of the daily intake of di(2-ethylhexyl) phthalate (DEHP) and other phthalates in the general population. *Int. J. Hyg. Envir. Heal*., 2003, **206** (2), 77–83.
57. Scrimshaw, M.D. and Lester, J.N. (2003). Fate and behaviour of endocrine disrupters in sludge treatment and disposal. In: Birkett, Lester (Eds.), Endocrine Disrupters in Wastewater and Sludge Treatment Processes. CRC Press LLC and IWA publishing, London, UK, pp. 145–176.
58. Beauchesne I., Barnabé S., Cooper D.G. and Nicell J.A. Plasticizers and related toxic degradation products in wastewater sludges. *Water Sci Technol*., 2008, **57**(3), 367-74.
59. Grindler, N.M., Vanderlinden, L., Karthikraj, R, Kannan K, Teal S., Polotsky A.J., Powell T.L., Yang I.V. and Jansson T. Exposure to Phthalate, an Endocrine Disrupting Chemical, Alters the First Trimester Placental Methylome and Transcriptome in Women. *Sci Rep*., 2018, **8**, 6086.
60. Mutseyekwa M.E., Doğan S. and Pirgalıoğlu S. Ozonation for the removal of bisphenol A. *Water Sci Technol*., 2017, **76** (10), 2764–2775.
61. Mokhtari, S.A., Farzadkia, M., Esrafili, A. Kalantari R.R., Jafari A.J., Kermani M. and Gholami M. Bisphenol A removal from aqueous solutions using novel UV/persulfate/H2O2/Cu system: optimization and modelling with central composite design and response surface methodology. *J Environ Health Sci Engineer*, 2016, **14**, 19.
62. Kryłów, M. and Rezka, P. Polybrominated flame retardants in sewage sludge and sediments (Review). *Technical Transactions*, 2017, **114** (3), 153-166.
63. Lee, H.J. and Kim, G.B. Removal rate and releases of polybrominated diphenyl ethers in two wastewater treatment plants, Korea. *Ocean Sci. J*., 2017, **52**, 193–205.
64. Yang C.W., Chen W.Z. and Chang B.V. Biodegradation of tetrabromobisphenol-A in sludge amended soil, *Ecological Engineering*, 2016, **91**, 143–147.
65. Van der Veen, I. and de Boer, J. Phosphorus flame retardants: properties, production, environmental occurrence, toxicity and analysis. *Chemosphere*, 2012, **88** (10), 1119– 1153.
66. Zeng X., Liu Z., He L., Cao S., Song H., Yu Z., Sheng G. and Fu J. The occurrence and removal of organophosphate ester flame retardants/plasticizers in a municipal wastewater treatment plant in the Pearl River Delta, China. *J Environ Sci Health A Tox Hazard Subst Environ Eng*, 2015, **50** (12), 1291-7.
67. Pang, L., Yang P., Zhao J. and Zhang H. Comparison of wastewater treatment processes on the removal efficiency of organophosphate esters. *Water Sci Technol*, 2016, **74**(7), 1602–1609.
68. U.S. Environmental Protection Agency (EPA). (2007), Senior Policy Council. Nanotechnology White Paper. Retrieved September 2021, https://archive.epa.gov/osa/pdfs/web/pdf/epa-nanotechnology-whitepaper-0207.pdf
69. Klaine, S.J., Alvarez P.J.J., Batley G.E., Fernandes T.E., Handy R.D., Lyon D.Y., S. Mahendra, M.J. McLaughlin, and Lead J.R. Nanoparticles in the Environment: Behavior, Fate, Bioavailability and Effects. *Environmental Toxicology and Chemistry*, 2008, **27** (9), 1825-1851.
70. Luoma, S.N. (2008). Silver Nanotechnologies and the Environment: Old Problems or New Challenges? Woodrow Wilson International Center for Scholars.
71. Gil, P.R. and Parak W.J. Composite Nanoparticles Take Aim at Cancer. *ACS Nano*., 2008, **2** (11), 2200-2205.
72. Liu, H., L.Ma, J. Zhao, J. Liu, J. Yan, J. Ruan, and Hong F. Biochemical Toxicity of Nano-anatase TiO2 Particles in Mice. *Biological Trace Element Research*, 2009, **126** (1-3), 170-180.
73. Nel, A., Xia T., Madler L. and Li N. Toxic Potential of Materials at the Nanolevel. *Science*, 2006, **311**, 622-627.
74. Mortensen L.J, Oberdorster G., Pentland A.P. and Delouise L.A. In Vivo Skin Penetration of Quantum Dot Nanoparticles in the Murine Model: The effect of UVR. *Nano Letters*, 2008, **8** (9), 2779-2787.
75. Powell, M.C. and Kanarek M.S. Nanomaterial Health Effects – Part 2: Uncertainties and Recommendations for the Future. *Wisconsin Medical Journal*, 2006, **105** (3), 18-23.
76. McGillicuddy, E., Morrison, L., Cormican, M., Dockery, P. and Morris, D. Activated charcoal as a capture material for silver nanoparticles in environmental water samples. *Science of the Total Environment*, 2018, **645**, 356–362.
77. Syafiuddin, A., Salmiati, S., Hadibarata, T., Kueh, A.B.H., Salim, M.R., and Zaini, M.A. Silver nanoparticles in the water environment in Malaysia: inspection, characterization, removal, modeling, and future perspective. *Scientific Reports*, 2018, **8**, 1–15.
78. Syafiuddin, A., Salmiati, Hadibarata, T., Salim, M. R., Kueh, A. B. H. and Sari, A.A. A purely green synthesis of silver nanoparticles using Carica papaya, Manihot esculenta, and Morinda citrifolia: Synthesis and antibacterial evaluations. *Bioprocess and Biosystems Engineering*, 2017, **40**, 1349–1361.
79. Mehennaoui, K., Cambier, S., Serchi, T., Ziebel, J., Lentzen, E., Valle, N., Guérold, F., Thomann, J.S., Giamberini, L. and Gutleb, A.C. Do the pristine physico-chemical properties of silver and gold nanoparticles influence uptake and molecular effects on Gammarus fossarum (Crustacea Amphipoda)?, *Science of the Total Environment*, 2018, **643**, 1200–1215.
80. Gicheva, G. and Yordanov, G. Removal of citrate-coated silver nanoparticles from aqueous dispersions by using activated carbon. *Colloids and Surfaces A: Physicochemical and Engineering Aspects*, 2013, **431**, 51–59.

**CEC WWTT % Removal**

Nanoparticles

ACA

74.7%

Emerging Contaminants

Pharmaceuticals

Hormones

PCPs

Microplastics

Plasticizers

Flame Retardants

28-75%

US

85-96%

AOP, II, NF

50-90%

Rice Husk, ACA,

NF, TAMR

75-97%

FBTT, MBR

82-99.9%

~99%

UV/SPS/HP/

Cu, Ozone, OMO

AS, BAF, TF

88-95%

Surfactants

Granular ACA, Ozonation, MBR

**Figure 1. Emerging contaminants and removal efficiencies using advanced technologies**

*CEC: Contaminants of emerging concern*

*ACA: Activated carbon adsorption*

*MBR: Membrane Bio-Reactor*

*US: Ultrasound*

*AOP: Advanced oxidation processes*

*II: Ionizing Irradiation*

*NF: Nanofiltration*

*TAMR: Thermophilic aerobic membrane reactor*

*FBTT: Filter-based treatment technologies*

*UV: Ultraviolet*

*SPS: Sodium persulfate*

*HP: Hydrogen peroxide*

*Cu: Copper*

*OMO: Ozone microbubble oxidation*

*AS: Activated sludge*

*BAF: Biological active filter*

*TF: Trickling filter*