Automated Macular Edema Identification and Severity Assessment Using Computer Vision Image Processing Tools

Rajesh S

Department of Electronics and Communication Engineering ACED, Alliance University,

Bangalore, Karnataka, India.

Email: sandurrajesh374@gmail.com

Abhishek Mallappa Palled

Department of Electronics and Communication Engineering ACED, Alliance University,

Bangalore, Karnataka, India.

Email: palledabhishek3@gmail.com

Iyli Chiranjeevi

Department of Electronics and Communication Engineering ACED, Alliance University,

Bangalore, Karnataka, India.

Email: iylichiranjeevi03@gmail.com

Dr . S Kavya

MBBS Gulbarga Institute of Medical Science, Karnataka, India

Email: sandurkavya363@gmail.com

Raksha S

Department of Electronics and Communication Engineering ACED, Alliance University,

Bangalore, Karnataka, India.

Email: rakshasureshgowda2003@gmail.com

Neelapala Anil Kumar

Department of Electronics and Communication Engineering ACED, Alliance University,

Bangalore, Karnataka, India.

Email: elegantanil2008@gmail.com

ABSTRACT

The Macula is an essential component of our human visual system that is mainly responsible for crisp and colour vision. Diabetes affects several regions of the body, including the retina of the eye, in persons who have it. These retinal injuries result in edema and other abnormalities near the macula. Diabetic Macular Edema (DME) refers to diseases in the macula caused by diabetes. It influences patients' vision, which can lead to vision loss. The information about the severity of the disease and the localization of pathologies is very valuable to the ophthalmologist in identifying the disease and choosing the correct line of treatment for the patients in order to avoid the creation of any lesions and prevent vision loss. It can be avoided if the reasons for edema are identified in advance. The enlargement is caused by neovascularization and other irregularities in the blood vessels around the macula. The objective of this work focuses on preventing vision loss by recognizing abnormalities in the macula in advance. The goal of this work is to use digital OCT (Optical Coherence Tomography) pictures to construct an automated detection of edema. Using Fuzzy k- means Machine Learning algorithms to extract and detect the afflicted region, for early discovery of edema to prevent or postpone sight loss.

Keywords - Clinically Significant Macular Edema (CSME), Central retinal vein occlusion (CRVO) Exudates, Fovea, Haemorrhage, Maculopathy, Optical Coherence Tomography

- INTRODUCTION

Macular edema is the leading cause of vision loss in the working-age population of most developed countries. DME affects almost 560,000 Americans. Around 55% are unaware that they have the condition, and 70% of people with the most severe form of diabetic retinopathy, proliferative retinopathy, will acquire DME. Macular edema is an expansion or thickening of the macula, the part of the eye responsible for detailed, central vision. Macular edema occurs when fluid and protein deposits form on or under the macula of the eye (the yellow centre area of the retina) and cause it to thicken and expand (edema). Because the macula is in the middle of the retina at the back of the eyeball, swelling may impair central vision. This area includes tightly packed cones that provide crisp, clear central vision, letting a person perceive detail, form, and colour that is directly in the direction of gaze. Diabetic Macular Edema (DME) is a frequent diabetes illness that can cause severe vision impairment. Manual diagnosis and assessment of DME by ophthalmologists can be time-consuming and varied. Methods that are automated have the potential to improve accuracy, efficiency, and early intervention. Diabetes causes vision loss due to the destruction of retinal blood vessels in the eye. These injured blood arteries bleed blood into the macula region, resulting in visual loss. Diabetic macular edema refers to this impairment in the macula caused by diabetes. The most common cause of diabetic macular edema is neovascularization, which is the growth of small and aberrant blood vessels inside the macular region. These blood vessels form in the wrong places, causing damage to the macula and haemorrhage. Blood vessel abnormalities in the macula are another cause of macular edema. The leakage of fluid from the vessels can be halted if this is identified in advance. The immediate amplitude and frequency properties of a picture. Ophthalmologists currently use dilated retinal imaging to detect neovascularization and other abnormalities in blood vessels. The dilating drops may produce ocular discomfort and giddiness. This course requires a minimum of 30 minutes of effort. The investigation time and impact on the patient may be minimized if the system could function on photos where the patient's pupil is not dilated. Diabetes retinopathy (DR) is an important cause of preventable vision loss worldwide. The macula is the darkest area on the focus point of a retinal fundus image Fig 1(a). When the fovea (the focal point of the macula region) is harmed in diabetic patients, it causes diabetic macular edema (DME) [1]. DME pathogenesis begins with decreased retinal oxygen strain, which manifests as retinal vessel hyperpenetrability and increased intravascular pressure [2]. Exudates are brilliant lesions characterized by the leakage of proteins and lipids from the circulatory system into the retina via damaged veins [3]. Non-Clinically Significant Macular Edema (non-CSME) is an early stage of edema in which exudates are located far from the fovea and focused vision is unaffected Fig 1(b)  Yet, in Clinically Significant Macular Edema (CSME) the exudates kept near or on the fovea and influencing the focal vision of the eye Fig. 1(c) [4].

Fig 1. Retinal Fundus images with various features.

- Anatomy of Eye

The eyes are organs of vision. Light is detected and converted into electrochemical impulses in neurons. The most fundamental photoreceptor cells in conscious vision associate light with movement. In higher organisms, the eye is a complex optical system that collects light from the environment, regulates its intensity with a diaphragm, focuses it through an adjustable assembly of lenses to form an image, converts this image into a set of electrical signals, and transmits these signals to the brain via complex neural pathways that connect the eye to the visual cortex and other areas of the brain via the optic nerve. The eye is a 2.5cm diameter hollow spherical organ. It has a three-layer wall, and its internal voids are filled with fluids that sustain the walls and keep the eye forming Fig 2. Depicts the cross-sectional anatomy of the eye. The eyes are so crucial that they account for one-fifth of all information received by the brain.

Fig 2 Structure of eye

Cornea

The cornea is a transparent covering in front of the eye that covers the iris, pupil, and anterior chamber and serves to concentrate incoming light , with a water content of 78% The cornea has an oval shape, with vertical and horizontal dimensions of 11 and 12mm, respectively. It is devoid of blood vessels. The cornea's role is to refract and transmit light.

Aqueous Humor

The aqueous humour is the aqueous fluid found in the front of the eye between the lens and the cornea. The primary purpose of aqueous fluid is to give nutrients and oxygen to the cornea and lens [5].

Iris

The iris is a thin, pigmented, circular structure in the eye that regulates the quantity of light that enters the eye. The iris's job is to govern the size of the pupil by adapting it to the intensity of the lighting conditions. The Accommodation Reflex dilates the pupil to allow light to enter when focusing on distant things or in darkness.

Pupil

A pupil is a hole in the centre of the iris. The iris' dilator and sphincter muscles determine pupil size.  It looks black because most of the light entering the pupil is absorbed by the tissues within the eye.

Lens

The lens is a transparent, biconvex structure of the eye that, together with the cornea, serves to refract light so that it may be focused on the retina The lens can adjust the focal distance of the eye, allowing it to concentrate on things at varying distances and generate crisp images on the retina.

Vitreous Humour

The vitreous humour is a transparent fluid that fills the space between the lens and the retina in the eye. It is the human eye's most extensive realm. More than 95% of the fluid is water.

Sclera

The sclera is the white opaque tissue that serves as the protective outer covering of the eye. Six small muscles attach to it and govern the motions of the eye. At the very back of the eye, the optic nerve is connected to the sclera.

Optic Disc

The optic disc, also known as the optic nerve head or the blind spot, is the location where the optic nerve connects to the eye. This generates a gap in the vision field known as "the blind spot" or "physiological blind spot."

Fig 3 location of the macula

Retina

The retina is a thin layer of nerve cells that lines the inside of the eye. It is sensitive to light and absorbs it. Rods and cones are the two types of light receptors found in the retina. The rods absorb both black and white light. The rods are in charge of night vision. Cones are more colour-sensitive and absorb light. Colour vision is controlled by the cones.

Macula

The macula is the region around the fovea. Fig 3 depicts an oval-shaped highly pigmented yellow area towards the centre of the retina [6] is a tiny but very sensitive area of the retina.

Fovea

The fovea is the most central component of the macula. The visual cells in the fovea are the most densely packed, resulting in the sharpest vision. Unlike the retina, it lacks blood veins that may obstruct light from hitting the foveal cone mosaic.

- Macular edema

Macular edema develops when fluid and protein deposits build on or under the macula of the eye (a yellow centre portion of the retina) and cause it to thicken and enlarge (edema). Because the macula is towards the centre of the retina at the rear of the eyeball, swelling may impair central vision [7] is region contains densely packed cones that give crisp, clear centre vision, allowing a person to discern detail, shape, and colour that is immediately in the direction of gaze.

Fig 4  Normal Retina ,cystoid macula edema l and optic disk edema

Macular edema sometimes appears for a few days or weeks after cataract surgery, but most such cases can be successfully treated with NSAID or cortisone eye drops. Until recently there were no good treatments for macular edema caused by central retinal vein occlusion (CRVO) [8]Laser photocoagulation has been used for macular edema caused by branch retinal vein occlusion (BRVO).[9]

Causes of Macular Edema

Macular edema can be caused by a variety of factors. It is usually linked with diabetes, in which damaged blood vessels in the retina begin to leak fluids into the retina, including tiny quantities of blood. Fat deposits can sometimes seep within the retina. The macula swells because of the leaking. Because blood vessels become inflamed and leak fluids, eye surgery, particularly cataract surgery, can raise your chance of developing macular edema.

Macular Edema Symptoms

Macular edema is a disorder that affects the macula, the core region of the retina that is responsible for delivering crisp central vision for tasks such as reading, recognizing people, and driving. When fluid collects within the macula, it can cause macular edema. This syndrome frequently coexists with other eye conditions such as diabetic retinopathy and age-related macular degeneration. Macular edema symptoms include:

Blurry or Distorted Central Vision

The predominant symptom of macular edema is the distortion or blurriness of central vision. This makes objects appear unclear or fuzzy, particularly when attempting to discern fine details.

Loss of Central Vision

As the condition advances, individuals might experience a progressive loss of central vision [10] is impairs activities requiring distinct vision, including reading, watching television, and recognizing faces.

Alterations in Colour Perception

Some individuals affected by macular edema might notice changes in their ability to accurately perceive colors.

Presence of Dark Spots

Dark patches or gaps in the central vision could manifest, creating the sensation of viewing objects through a cloudy or smudged area.

Visual Distortions

Straight lines might take on a wavy or bent appearance, a phenomenon referred to as metamorphosis, which is a common manifestation of macular edema.

Difficulty in Low-Light Settings

Macular edema can result in difficulties when trying to see clearly under conditions of low light or darkness.

- Macular Edema Diagnosis

During an eye exam, our ophthalmologist will dilate our pupils and inspect our retina. Because macular edema originates inside the layers of retina tissue, we may employ fluorescein angiography or optical coherence tomography (OCT) [11] aid make an accurate diagnosis. Fluorescein angiography photos reveal our Eye M.D. whether blood vessels are bleeding and how much leakage there is OCT uses a unique camera to image our retina. It assesses the thickness of the retina and is extremely sensitive to edema and fluid.

Classification of Macular Edema

- Cystoid macular edema

- Diabetic macular edema

Cystoid macular edema (CME) is characterized by fluid buildup in the outer plexiform layer because of aberrant peritoneal retinal capillary permeability. The edema is called "cystoid" because it seems cystic yet, because it lacks an epithelial layer, it is not genuinely cystic. The healthy retina is a thin, semi-transparent tissue that borders the back of the eye.  When the core section of the retina (the macula) gets dilated and filled with fluid, it swells like a sponge.  This swelling appears in grape-like clusters and resembles cysts, therefore the term cystoids macular edema [12]

Symptoms of Cystoid Macular Edema

Patients with cystoid macular edema typically have impaired reading vision. The peripheral vision, or side vision, stays unaffected.  Object distortion and poor eyesight are common symptoms [13].addition, eyes with cystoid edema may seem inflamed and red, leak profusely, and be delicate to the touch.

Diabetic macular edema (DME) is also caused by leaky macular capillaries. DME is the most prevalent cause of vision loss in both proliferative and non-proliferative diabetic retinopathy. Diabetes-related macular edema (DME) is a dangerous eye disorder that affects persons with type 1 or type 2 diabetes. The term "macular" refers to the macula, [14] Centre section of the retina and the component of the eye that provides clear central vision.2 Edema is the swelling of tissues caused by fluid. DME occurs when damaged blood vessels leak fluid, causing swelling and blurring of vision. As retinopathy progresses, the eye may begin to produce new, aberrant blood vessels over the retina, which can easily burst and bleed, resulting in significant vision loss and perhaps blindness. DME can occur at any stage of diabetic retinopathy, [15] though it is more probable as the illness advances.

Symptoms and Diagnosis of DME

The mac la is a black structure in the middle of the retina. If there is no, (roughly) rotational symmetry. seen in fig 5 the circular zone around the macula Approximately twice the size of an optical disc.

Fig 5 Sample fundus image and the circular region of interest centres on macula

The image used for evaluation is first presumed to be normal. Any divergence from normal traits is considered abnormal. It is viewed as a warning indication of anything awry. DME severity is determined for each imaging anomaly by determining HE's position about the macula that detects the fovea. Which can be easily detected in locations where blood vessels do not exist. Exist. Fovea is centralized. Where the specific macula region is present. It is critical to determine the macula region. The fovea area, where blood vessels do not pass through it. Once found, the optic disc is easy to find. The favela area, which is located at one dia.

- Optical Coherence Tomography (OCT)

Optical Coherence Tomography (OCT) is a non-invasive medical imaging technology used to see and collect high-resolution cross-sectional pictures of biological tissues. It is frequently utilized in different medical domains, notably ophthalmology and cardiology, for diagnostic and research reasons. OCT gives precise information about tissue structure and can aid in the diagnosis of many illnesses by allowing physicians to examine the layers of tissue and spot irregularities.

Fig 6 Optical Coherence Tomography (OCT)

OCT Principle

The optical setup generally consists of an interferometer with a low coherence, broad bandwidth light source, where light is separated into and recombined from the reference and sample arms, respectively. White light or low coherence interferometry is the basic premise of OCT. In time domain OCT the path length of the reference arm is translated longitudinally in time [16] the reference of two partially coherent light beams can be expressed as

I = 11 +12 +2ÃGcos 	where Ai = —

Broadband interference is obtained in frequency domain OCT using spectrally separated detectors (either by recording the optical frequency in time with a spectrally scanning source or with a dispersive detector, such as a grating and a linear detector array).

OCT Advantages

- High Resolution: OCT provides micrometer-level resolution, enabling visualization of fine tissue structures that might not be visible with other imaging methods.

- Non-invasiveness: OCT is non-invasive and uses light waves, making it safer than techniques like X-rays.

- Real-time Imaging: OCT can provide real-time images during a procedure, allowing doctors to make immediate decisions.

- Depth Information: Unlike traditional two-dimensional imaging, OCT provides depth information, enabling accurate assessment of layered structures.

- Various Applications: OCT is extensively used in ophthalmology for imaging the retina and diagnosing conditions like macular degeneration, diabetic retinopathy, and glaucoma. It's also used in cardiology for imaging blood vessels, aiding in the diagnosis and monitoring of heart diseases.

- Research and Development: OCT is valuable for research, as it helps scientists and clinicians understand tissue behaviour, disease progression, and treatment effectiveness.

- Minimal Patient Discomfort: The procedure is generally well-tolerated by patients and doesn't require contact with the body, making it more comfortable.

OCT Image

Optical Coherence Tomography (OCT) is a non-contact, non-invasive 3-1) imaging technology that conducts optical sectioning at microscopic resolution, as seen in Fig 7 . It was commercially introduced into ophthalmology for detecting the existence and development of certain ocular diseases. This method monitors the optical back scattering of tissues, allowing visualization of intraocular structures such as the retina and optic nerve head. The capacity to see the interior components of the retina allows for objective and quantitative diagnosis of disorders such as glaucoma and macular holes, among others. OCT detects macular edema, which is found in the inner region of the eye.

Fig 7 Macular edema OCT images

Although OCT imaging technology continues to advance, the development of technologies to aid in the interpretation of OCT pictures has lagged. With growing volumes of OCT data being created and recorded at rising sample rates, there is a pressing demand for computer aided analysis to improve disease diagnosis. This requirement is exacerbated by the fact that in typical clinical situations, an ophthalmologist making a diagnosis does not have the support of a specialist in interpreting OCT data. In contrast, a radiologist is generally present in other medical imaging settings.

- Algorithm Design

The following edema macular severity algorithm have been depicted with an aid of block diagram shown in the fig 8 below.

The first stage in the algorithm creation process is to retrieve OCT image database picture samples and convert them from colour to grey scale. The thresholding procedure depicted produces a binary picture from a grayscale image.

Fig 8 Algorithm Design diagram

The preliminary step in the algorithm design is to retrieve the data base image samples of OCT Images and convert them from colour to grey scale. New map = rgb2gray (map) returns a grayscale colour map equivalent to map.

Fig 9   RGB to grey colour conversion of OCT Images

Consideration of the picture as grayscale can simplify the segmentation question and result in straightforward calumniation, but some image information will be lost. Changing the image to a colour one will assist to Denise it, but it will result in extra computations. As a result, if we have a clean image with no noise, we can presumably consider it as a grey image. The programme is designed to recover data by using picture samples from OCT images and converting them from colour to grey scale. A binary picture is created from a grayscale image using a proper thresholding procedure. The pixels in the equalized picture have an intensity range of O to 255. Because the method involves extracting the damaged or accumulated region, a 2-level picture representation would suffice for faster processing. BW = im2bw (1, level) converts the grayscale image into a binary image.[17]

Fig 10 Grey to the black and white conversion of OCT Images

- Fuzzy k- means.

Fuzzy k-means is a clustering technique that expands on the classic k-means algorithm by enabling data points to belong to numerous clusters with various degrees of membership, as opposed to a hard assignment in k-means. This is especially beneficial when data points do not clearly belong to a single cluster, but instead have unclear or fuzzy membership[18].Macular edema is a medical disorder characterised by enlargement of the macula, the central portion of the retina of the eye. It can be caused by a variety of underlying illnesses, including diabetic retinopathy, age-related macular degeneration, and vascular diseases. When it comes to medical data analysis, particularly photographs of the macula, clustering techniques like as fuzzy k-means can be used to understand patterns and correlations within datasets.

# Fig 11 segmentation with the fuzzy k-means

- Data Representation: In the case of macular Edema, data could be represented as information taken from medical pictures of the macula, such as pixel intensities, texture features, or other relevant attributes.

- Fuzzy Membership: Instead of assigning each data point to a single cluster as in traditional k-means, fuzzy k-means assigns each data point a degree of membership to each cluster [19].In the instance of macular Edema, this could indicate the possibility of a specific feature vector pertaining to distinct types or stages of Edema.

- Membership Estimation: Fuzzy k-means computes membership values by utilising a weighting factor that quantifies how closely a data point is related to the centroid of a cluster. The closer a data point's features are to the centroid, the bigger its membership value in that cluster. This is especially useful when the distinction between clusters is uncertain due to volatility in the data.

- Cluster Centers: Like classic k-means, fuzzy k-means will iteratively change the cluster centers based on the weighted memberships of data points. This technique seeks to identify the cluster centers that best represent the data distribution while accounting for fuzzy memberships.

- Interpretation: Once the algorithm has converged, you may analyse the findings by examining the memberships of each data point across clusters. [20] This can provide insights into potential subgroups or patterns in the macular Edema data.

- Results

Certainly, let's discuss the potential results and implications of using Fuzzy k-means for the detection of macular edema.

- Cluster Centres: Fuzzy k-means would have discovered cluster centres in the data that represent various patterns or traits. In the context of macular edema detection, these cluster centres may correlate to various types or phases of macular edema.

- Membership Values: The membership values for each data point represent the degree of link with each cluster. Higher membership values for a specific cluster indicate a greater presence of the cluster's relevant features in the data point. This could disclose the variable degrees to which different regions of a retinal picture exhibit edema-related characteristics in the identification of macular edema.

- Cluster Assignment: Each data point (or region of interest in the retinal picture) can be assigned to one or more clusters based on the highest membership value. This process would effectively segment the retinal picture into separate sections that could be indicative of macular edema.

Discussion:

- Interpretability: The ability of Fuzzy k-means to capture the ambiguity and partial membership of data points in multiple clusters is one of its advantages. This could be useful in detecting macular edema because the disorder does not usually have clear-cut boundaries in medical pictures.

- Edema Quantification: The membership values allow you to assess the degree of macular edema in different places. This could help ophthalmologists determine the severity of the illness and track its evolution over time.

- Segmentation and Localization: The segmentation of the retinal image by the algorithm into separate clusters can aid in localizing areas of possible concern. This data may help medical practitioners focus on certain areas during diagnosis and treatment planning.

- Ambiguity Challenges: Due to differences in image quality, illumination, and other circumstances, detecting macular edema can be difficult. Fuzzy k-means may still struggle in circumstances when edema is vague or poorly defined.

- Validation and Expert Input: Validating Fuzzy k-means results for macular edema detection is critical. This validation could entail comparing the clustered regions to ground truth annotations supplied by skilled ophthalmologists. Their feedback would also be critical in refining the algorithm and changing the membership function to correspond with clinical knowledge of macular Edema.

- Integration Potential: Fuzzy k-means results might be incorporated into a wider diagnostic workflow, potentially followed by more advanced machine learning techniques or expert evaluation for confirmation and ultimate diagnosis.

- Clinical Implications: The successful application of Fuzzy k-means for macular edema detection may result in improved early detection and treatment, which is critical for reducing vision loss in patients.

In conclusion, Fuzzy k-means provides a method for dealing with the complexity and unpredictability of macular edema detection. However, to assure clinical relevance and accuracy, its application should be led by collaboration between data scientists and medical professionals.

- Conclusion

In this study, an effective and innovative method based on mathematical morphology is provided for the automatic detection of anatomical features such as the optic disc and macula (the centre of the fovea), as well as pathological features such as hard exudates, in digital colour retinal pictures. As a result, an automated approach for detecting and rating DM severity levels has been created. The approach can handle photos with significant differences in artefact presence and quality. Our suggested strategy uses precise exudates and segmentation of the macula along with straightforward noise removal algorithms to achieve this goal. The proposed method has been examined in comparison to state-of-the-art techniques and validated using the publicly accessible MESSIDOR database. The outcome of the experiment demonstrates that the new method performs better and requires fewer parameters than other methods. Only the macula region is where exudates are now found. The complete image is included in the exudate’s detection, leaving this task for later. The technique is directly utilized when screening for eye conditions for the ever-growing diabetic population.

REFERENCES

[1] Zhang, Jingfa, et al. "Diabetic macular edema: current understanding, molecular mechanisms and therapeutic implications." Cells 11.21 (2022): 3362.

[2] Takamura, Yoshihiro, Yutaka Yamada, and Masaru Inatani. "Role of Microaneurysms in the Pathogenesis and Therapy of Diabetic Macular Edema: A Descriptive Review." Medicina 59.3 (2023): 435.

[3] Tang, Yi, et al. "the development of risk factors and cytokines in retinal vein occlusion." Frontiers in Medicine 9 (2022): 910600.

[4] Li, Zijing, et al. "Nomogram-based prediction of clinically significant macular edema in diabetes mellitus patients." Acta Diabetologica 59.9 (2022): 1179-1188.

[5] McDowell, Colleen M., et al. "Consensus recommendation for mouse models of ocular hypertension to study aqueous humourz outflow and its mechanisms." Investigative ophthalmology & visual science 63.2 (2022): 12-12

[6] Bolstad, K., & Novales Flamarique, I. (2023). Chromatic organization of retinal photoreceptors during eye migration of Atlantic halibut (Hippoglossus hippoglossus). Journal of Comparative Neurology, 531(2), 256-280.

[7] İnam, O., Kaplan, H. J., & Tezel, T. H. (2023). Retinal Hydration Assessment With Optical Coherence Tomography: Unraveling Its Significance in Retinal Fluid Dynamics, Macular Edema and Cell Viability. Translational Vision Science & Technology, 12(8), 4-4.

[8] Pinna, Antonio, Angelo Zinellu, Rita Serra, Giacomo Boscia, Lorenza Ronchi, and Stefano Dore. "Combined Branch Retinal Artery and Central Retinal Vein Occlusion: A Systematic Review." Vision 7, no. 3 (2023): 51.

[9] Afshar, Pedram, Haniyeh Zeidabadinejad, Fariba Ghassemi, Hamid Riazi-Esfahani, and Elias Khalili Pour. "Retinal astrocytic hamartoma complicated by branch retinal vein occlusion in a patient with tuberous sclerosis complex." American Journal of Ophthalmology Case Reports (2023): 101920.

[10] Ali, Saba Ghazanfar, Xiangning Wang, Ping Li, Younhyun Jung, Lei Bi, Jinman Kim, Yuting Chen et al. "A systematic review: Virtual-reality-based techniques for human exercises and health improvement." Frontiers in Public Health 11 (2023): 1143947.

[11] Mirmosayyeb, O., Zivadinov, R., Weinstock-Guttman, B., Benedict, R. H., & Jakimovski, D. (2023). Optical coherence tomography (OCT) measurements and cognitive performance in multiple sclerosis: a systematic review and meta-analysis. Journal of Neurology, 270(3), 1266-1285.

[12] Kumar NA, Anuradha MS. Research Review Perspective on Retinal Clinical Features Diagnosis Automation of Non-Proliferative Diabetic Retinopathy (NPDR). Madridge J Bioinform Syst Biol. 2019; 1(1): 27-30.

[13] Sztrigler-Cohen, O., Bromberger, N., Thee, Y., Lender, R., & Ben-Eli, H. (2023). Effect of Contact Lens Design on Objective Visual Acuity-Based Parameters in Pre-Presbyopic Patients in Photopic and Mesopic Lighting Conditions. Vision, 7(2), 46.

[14] Nguyen, V. S., & Nandakumar, S. (2023). Functional Ophthalmological Symptoms in Children and Adolescents. In Handbook of Mind/Body Integration in Child and Adolescent Development (pp. 205-216). Cham: Springer International Publishing.

[15] Kumar, Yogesh, and Surbhi Gupta. "Deep transfer learning approaches to predict glaucoma, cataract, choroidal neovascularization, diabetic macular edema, drusen and healthy eyes: an experimental review." Archives of Computational Methods in Engineering 30, no. 1 (2023): 521-541.

[16] Zhang, J., Zhang, J., Zhang, C., Zhang, J., Gu, L., Luo, D. and Qiu, Q., 2022. Diabetic macular edema: current understanding, molecular mechanisms and therapeutic implications. Cells, 11(21), p.3362.

[17] Dash, P., & Sigappi, A. N. (2022). Detection of DME in OCT Images Based on Histogram Descriptor. In Emerging Electronics and Automation: Select Proceedings of E2A 2021 (pp. 357-371). Singapore: Springer Nature Singapore.

[18] Srividya, K., and K. Lakshmi Joshitha. "A Survey on Detection of Diabetic Retinopathy Lesions Using Deep Learning." In 2022 International Conference on Communication, Computing and Internet of Things (IC3IoT), pp. 1-6. IEEE, 2022.

[19] Ma, Guangzhi, Jie Lu, Feng Liu, Zhen Fang, and Guangquan Zhang. "Multiclass classification with fuzzy-feature observations: Theory and algorithms." IEEE Transactions on Cybernetics (2022).

[20] Ikotun, A. M., Ezugwu, A. E., Abualigah, L., Abuhaija, B., & Heming, J. (2022). K-means clustering algorithms: A comprehensive review, variants analysis, and advances in the era of big data. Information Sciences.