V.Y.W.S. Dental College And Hospital, Amravati.

Department of Prosthodontics

Occlusion In Dental Implants

Dr. Pallavi Pethe , Post Graduate student , Department of prosthodontics ,V.Y.W.S. Dental college and hospital Amravati

Dr. Brajesh Dammani, Professor & Guide , Department of prosthodontics ,V.Y.W.S. Dental college and hospital Amravati

Dr. Aparna S. Barabde Professor, Head & Guide, Department of prosthodontics ,V.Y.W.S. Dental college and hospital Amravati

Dr. Komal Warghane, Reader, Department of prosthodontics ,V.Y.W.S. Dental college and hospital Amravati

Dr. Sushant Wankhade , Post Graduate student , Department of prosthodontics ,V.Y.W.S. Dental college and hospital Amravati

Dr. Siddhi Nemade, Post Graduate student , Department of prosthodontics ,V.Y.W.S. Dental college and hospital Amravati

## CONTENTS

Page No.

1) Introduction								     1

2) The Importance Of Occlusion						     3

- BioMechanical Considerations On

Osseointegrated Implants			   11

4)  Ideal Occlusion							   24

5) Anterior Guidance							    48

6)  Remount Procedure							    52

7) Review Of Literature							    55

8) Summary And Conclusion						    65

9) Bibliography								    68

## I N T R O D U C T I O N

The introduction of osseointegrated implants in the early 1980s revolutionized the approach to treating partially and fully edentulous patients with prosthetics. Successful implant prosthesis planning relies heavily on the restorative expertise of the dentist in prosthetic dentistry. While implant placement depends on the patient's oral anatomy and bone structure, the ultimate prosthesis design is influenced by the dentist's implant dentistry knowledge and past clinical experience. Achieving predictability and long-term success hinges on several factors, including selecting the right patient, performing aseptic and gentle surgical procedures, allowing for a sufficient no-load healing period, ensuring correct prosthodontic reconstruction, and providing proper follow-up care.

A Swedish government evaluation highlighted that the prosthodontic phase is the most critical aspect for the long-term success of implants. Implant Prosthodontics not only involves the technical aspects of crafting supported prostheses but also demands the proper application of occlusal principles for implant selection and placement, as well as for the prosthetic phase of treatment. The development of a suitable occlusion is pivotal for the success of both the implant and the prosthesis attached to it.

Occlusion is vital for implant longevity because osseointegrated implants lack periodontal ligaments like natural teeth, which can absorb stress and allow for tooth movement. In the case of implants, occlusal stress is borne entirely by the implant-bone interface. If the occlusal force exceeds the interface's capacity to absorb stress, implant failure can occur.

To prevent implant failure, occlusal forces must be directed along the implant's long axis to avoid destructive lateral forces. The prosthesis must be precisely fabricated to ensure long-term success, and it should be securely connected to the fixtures to transmit any occlusal stresses directly to the surrounding base.

Harmony with the rest of the stomatognathic system is crucial when developing occlusal concepts. As English suggests, "Accurate occlusion is essential for the long-term success of implant treatment. Implants cannot compensate for faulty occlusion."

**Significance of Occlusion on Osseointegrated Implants:**

In natural teeth, periodontal ligament receptors protect against excessive occlusal forces, preventing trauma to supporting bone. However, osseointegrated implants lack these defense mechanisms, making a well-restored occlusion critical for their longevity. Success rates for osseointegrated implants depend on sound prosthodontic principles, not just meticulous surgical procedures.

Parafunctional habits like bruxism, which generates six times the bite strength of natural dentition, or long-term changes in vertical dimension, can have adverse effects on the muscles supporting the craniomandibular structures and contribute to bone resorption.

Osseointegrated implants are firmly connected to supporting fixtures, transmitting occlusal stresses directly to surrounding bone. Therefore, careful consideration of potential occlusal stresses during prosthesis fabrication is essential for long-term success.

Studies have shown that osseointegrated implant-supported overdentures provide better masticatory efficiency and speed compared to conventional complete dentures. Occlusal forces in patients with osseointegrated implant-supported prostheses are controlled by neuromuscular mechanisms via masticatory muscles.

Albrektsson et al. in 1986 emphasized the need to distribute the load mainly over the areas supported directly by fixtures and to minimize horizontal forces caused by premature contacts or steep cusps.

**Impact Forces:**

Osseointegrated implants lack a cushioning mechanism, so occlusal forces are directly transmitted to the supporting bone. Aggressive occlusal forces can harm the surrounding bone, and potential impact forces, such as premature occlusal interferences, should be eliminated during prosthesis fabrication.

Impact forces, occurring when the mandible closes with high velocity and power, can damage the prosthesis, implant components, and supporting bone. Contacting teeth simultaneously in maximum intercuspation can help mitigate these forces, as natural teeth effectively function from this position. Significant differences in forces were observed between patients with fully bone-anchored prostheses, natural dentition, and complete dentures, based on calculations of theoretical stress-bearing capabilities.The introduction of osseointegrated implants in the early 1980s revolutionized the approach to treating partially and fully edentulous patients with prosthetics. Successful implant prosthesis planning relies heavily on the restorative expertise of the dentist in prosthetic dentistry. While implant placement depends on the patient's oral anatomy and bone structure, the ultimate prosthesis design is influenced by the dentist's implant dentistry knowledge and past clinical experience. Achieving predictability and long-term success hinges on several factors, including selecting the right patient, performing aseptic and gentle surgical procedures, allowing for a sufficient no-load healing period, ensuring correct prosthodontic reconstruction, and providing proper follow-up care.

A Swedish government evaluation highlighted that the prosthodontic phase is the most critical aspect for the long-term success of implants. Implant Prosthodontics not only involves the technical aspects of crafting supported prostheses but also demands the proper application of occlusal principles for implant selection and placement, as well as for the prosthetic phase of treatment. The development of a suitable occlusion is pivotal for the success of both the implant and the prosthesis attached to it.

Occlusion is vital for implant longevity because osseointegrated implants lack periodontal ligaments like natural teeth, which can absorb stress and allow for tooth movement. In the case of implants, occlusal stress is borne entirely by the implant-bone interface. If the occlusal force exceeds the interface's capacity to absorb stress, implant failure can occur.

To prevent implant failure, occlusal forces must be directed along the implant's long axis to avoid destructive lateral forces. The prosthesis must be precisely fabricated to ensure long-term success, and it should be securely connected to the fixtures to transmit any occlusal stresses directly to the surrounding base.

Harmony with the rest of the stomatognathic system is crucial when developing occlusal concepts. As English suggests, "Accurate occlusion is essential for the long-term success of implant treatment. Implants cannot compensate for faulty occlusion."

**Significance of Occlusion on Osseointegrated Implants:**

In natural teeth, periodontal ligament receptors protect against excessive occlusal forces, preventing trauma to supporting bone. However, osseointegrated implants lack these defense mechanisms, making a well-restored occlusion critical for their longevity. Success rates for osseointegrated implants depend on sound prosthodontic principles, not just meticulous surgical procedures.

Parafunctional habits like bruxism, which generates six times the bite strength of natural dentition, or long-term changes in vertical dimension, can have adverse effects on the muscles supporting the craniomandibular structures and contribute to bone resorption.

Osseointegrated implants are firmly connected to supporting fixtures, transmitting occlusal stresses directly to surrounding bone. Therefore, careful consideration of potential occlusal stresses during prosthesis fabrication is essential for long-term success.

Studies have shown that osseointegrated implant-supported overdentures provide better masticatory efficiency and speed compared to conventional complete dentures. Occlusal forces in patients with osseointegrated implant-supported prostheses are controlled by neuromuscular mechanisms via masticatory muscles.

Albrektsson et al. in 1986 emphasized the need to distribute the load mainly over the areas supported directly by fixtures and to minimize horizontal forces caused by premature contacts or steep cusps.

.

### Optimum Occlusion for  Osseointegrated Implants

There is limited research available concerning the optimal occlusion for osseointegrated implants. Lekholm, in 1983, noted that poor occlusion can lead to uneven distribution of loads and stresses, resulting in bone resorption and fixture mobility. To distribute these loads and stresses more evenly, a balanced occlusion has been applied in osseointegration prostheses. However, it's important to recognize that while a balanced occlusion shares loads effectively from an occlusion perspective, the lateral loads it generates can be detrimental to the fixtures and surrounding bone. In a balanced occlusion, occlusal contacts are spread across posterior teeth during all eccentric movements, including working and nonworking contacts, which generate lateral loads on posterior teeth. These lateral forces can impact the rigid components of the implant system, particularly the fixture-bone interface. Therefore, a balanced occlusion is not recommended as the preferred occlusal scheme for fully bone-anchored prostheses.

On the other hand, Jemt, in 1986, proposed that when osseointegrated implants are used in short-span fixed partial dentures and single tooth replacements, the occlusion should be distributed in maximum intercuspation, and all cusp interferences should be eliminated in eccentric positions. This concept aligns with accepted principles for natural dentition and can be applied effectively to osseointegrated implant treatment. This approach becomes especially crucial when considering occlusion for a fully bone-anchored prosthesis. In this context, the fixtures are interconnected by the framework, and stresses are distributed to all fixtures located in the anterior region. When lateral loads are applied to posterior areas during eccentric movements, there is a tendency to overstress the fixtures. Hence, disclusion is favored over a balanced occlusion.

Conversely, occlusal forces during maximum intercuspation are directed vertically, transmitting forces uniformly to all fixtures. The fixtures integrated into bone are within a specific mesiodistal region, and the prosthesis is designed with cantilever extensions that can resist fulcrum forces through a lever effect. Calculations indicate that loads on the cantilever are absorbed vertically within normal limits and transmitted to the fixtures. Consequently, the occlusal forces transmitted are not detrimental, even when transmitted through the cantilever regions during maximum intercuspation.

During eccentric movements, occlusal forces tend to create horizontal loads, with increasing forces toward the distal sections. To prevent destructive lateral forces, the occlusal forces should be shared by anterior teeth. For instance, the occlusal force on a canine is approximately one-eighth less than the force on a second molar, as noted by Guichet in 1970. Even with applied horizontal loads, the stress generated on fixtures in the anterior region is less. Therefore, the occlusion for an osseointegrated prosthesis should closely resemble optimum occlusion in natural dentition.

**Gnathological Principles:**

The gnathological approach to clinical treatment emphasizes recording mandibular movement using devices like a pantograph and underscores the importance of harmony among the temporomandibular joint, teeth, and muscles. In edentulous patients, fixing clutches for pantographs has been challenging. However, in osseointegrated implant treatment, fixtures can be used to anchor the clutches, enhancing measurement accuracy.

Standard techniques involve clutch fabrication on mounted casts in an articulator, followed by adjustments to articulator settings after measuring mandibular movement. Distortions in the relationship between maxillary and mandibular working casts can occur if articulator settings change after mounting casts. Thus, it's recommended to mount the working casts in centric relation after completing all articulator adjustments. Throughout the prosthetic procedures for osseointegrated implant treatment, having two sets of casts is crucial – one for clutch fabrication and the other for working casts.

The gnathological procedures encompass:

1. Measuring vertical dimension and centric jaw relation records.

2. Locating the transverse horizontal axis.

3. Recording a facebow.

4. Mounting casts in the articulator (first set).

5. Fabricating clutches.

6. Inserting intraoral clutches.

7. Measuring eccentric movements with a computer pantograph.

8. Adjusting the adjustable articulator.

9. Mounting master casts in the articulator (second set).

10. Determining anterior guidance.

11. Adjusting the incisal table in the articulator.

12. Prosthesis fabrication.

13. Remount procedures.

14. Delivery.

15. Functional occlusal examination of the prosthesis.

In summary, understanding implant-supported prosthetic occlusion relies on fundamental principles derived from natural and prosthetic occlusion knowledge:

1. Occlusal forces on natural teeth are controlled by patients through proprioception, but implants lack this protective mechanism. Consequently, occlusal forces on implant-supported prostheses must be carefully designed and executed.

2. There's no one-size-fits-all occlusal scheme; it must align with the purpose and location of the restoration, whether it replaces a single tooth or involves a complete denture.

3. Understanding whether the implant-supported prosthesis will occlude with natural dentition or tissue-supported prostheses is critical, as each exerts different forces during functional and resting movements.

4. Consideration must be given not only to interarch space but also the plane of occlusion when determining abutment height and position, as a disrupted or incorrectly oriented plane of occlusion can compromise optimal occlusion.

5. Establishing stable jaw relationships with bilateral identical maximum intercuspal contacts is essential.

6. Achieving "freedom in centric" within the overall occlusal scheme.

7. Eliminating interference between maximum intercuspal and retruded contact positions.

8. Providing harmonious mandibular movement with light tooth contact during lateral and protrusive contacts.

In all phases of prosthodontic rehabilitation, the occlusal scheme must be tailored to the specific oral situation. For instance, when replacing a single tooth with an implant-supported prosthesis in an otherwise intact dental arch, the occlusion should mimic that of a tooth-supported single restoration. However, it's essential to consider canine occlusion if the natural canine is present and periodontally sound, especially when the implant-supported prosthesis occludes with natural teeth or other implants supported by natural teeth. This helps prevent overloading a single supporting fixture during disclusion. Group function occlusion, which provides centric occlusal contacts and complete disclusion in balancing positions, is another option

.BIOMECHANICAL CONSIDERATIONS

ON  OSSEOINTEGRATED   IMPLANTS

As the bone is strongest under compressive forces, lower strong to tensile forces and significantly weak to shear forces, the occlusal design should aim at reducing the tensile stresses and barring shear forces whenever possible.

An axial cargo over the long axis of an implant distributes further compressive stresses compared with tensile or shear forces. The lesser the angle of the cargo, applied to the implant long axis, the lesser is the compressive, tensile and shear stresses. therefore, along with the quantum of stress adding with an angled cargo, the type of stress converts to further tensile and shear factors. As bone is stronger in contraction, the negative goods of angled loads is enhanced. Because vertical or side loads beget an increase in the quantum of pressure or shear forces at the crest of the crest, these loads must be reduced within the occlusal scheme, especially in mechanical systems which increases in force, as cantilevers or crowns with lesser crown implant rates. Lighter occlusal connections are placed on cantilevers as a primary compressive force on a unilateral stake portion of aF.P.D. also applies considerable shear and tensile stresses to the most distant abutment.

The angle of the force to the bone affects the physiologic limit of compressive and tensile strength of bone. An angled cargo, i.e., force applied at a 300 angle increases the quantum of stresses around the implant body, transforms a lesser chance of the force to the tensile and shear force, and reduces bone strength in contraction and pressure. The girding implant body stress is least, and the strength of the bone the topmost under axial cargo to the implant body. Axial lading of the implant is especially important when the intensity and duration of force increases i.e., in parafunction. Occlusal designs should thus include axial loads to implant bodies, and when not possible should incorporate mechanisms to drop the negative goods of side loads.

SPLINTED IMPLANTS

Factors considered important to drop the goods of vertical loads which beget pressure and shear stresses on the crest of the crest include implant periphery, the number of implants supporting the prostheses and distributing the cargo. It's important to have an acceptable face area support. Whenever, the side force factors increase in quantities direction or duration of operation, the number of implants splinted in the region should also increase. As side loads constantly increase in the anterior region of the mouth during mandibular excursion more splinted implants are thus placed then to dissipate the performing crestal stresses.

Wider implants have a lesser area of bone contact at the crest than narrow implants, performing in lower compressive and tensile forces. Narrow root form implants have lower face and beget lesser stresses at the crest of the crest. therefore when narrow implants are used in regions which admit lesser forces, fresh splinted implants are indicated to compensate for their narrow design and help drop and distribute the cargo over a broader region. When forces are increased in intensity, duration or both as in parafunction, crest addition may be needed to place wider implants to compensate for the increased cargo. The prostheses can be modified to reduce occlusal loads from a fixed restoration to a removable prostheses. This is especially important when nightly parafunction is present, and the restoration may be removed to exclude the condition. Some stress relieving element may be included in the removable restoration, to allow the soft towel to help dissipate the loads.

REDUCED OCCLUSAL TABLE CONCEPTION

The wider the occlusal table, the more constantly neutralize connections do during mastication or parafunction. Wider root fountain implants offer a broader area for axial connections and transmit lower forces at the transosteal spots under neutralize loads than narrow plate form or root form implanted. The narrower the implant body, the lesser the significance of occlusal table range and axial lading the implant body. therefore, faciolingual confines of the occlusal table on which connections are placed is directly related to the range of the implant body.

The quantum of force used to access the food gelcap during mastication is also related to occlusal table range. The wider the occlusal table, the lesser is the force demanded to bite . thus, narrow occlusal tables may be used in any harsh region of the mouth. As bone loss occurs at the expenditure of the facial figure, of the bone, the occlusal table should be dropped in range from the facial aspect and not from the lingual. This allows the more medium implant to admit a further axialload.However, the opposing bow is dropped from the facial, add small face connections with lesser cusp angles are used to ameliorate the masticatory effectiveness, If the occlusal table can't be dropped due to esthetics.

Therefore, the occlusal table should be no wider than the implant root to minimise occlusal loads on the implant institutions. Equal extents of the occlusal table of an implant crown and of the implant root permit optimal transmission of the stresses along the institution. A wide occlusal table on a narrow implant root transmits concentrated stresses along the implant institution to the supporting osseous structures, which may resorb.

The most common region in which esthetics modify the reduced occlusal table conception is in a maxillary implant reconstruction. The esthetics of the buccal cusps shouldn't be compromised by a reduction in occlusal table range, indeed when the implant is placed to the lingual aspect of the crest. The occlusal range remains identical for ideal esthetics from the buccal cusps. Narrow occlusal tables are desirable in the mandibular bow to direct occlusal forces over the maxillary implant body. As a result, maxillary implants bear the buccal cusps of opposing natural mandibular teeth( or crowns or implants) to be reduced to exclude the neutralize cargo in centric relation occlusion. The maxillary buccal cusp may also be retained for esthetics. but the functional occlusal table is reduced. The distal half of the first molar and/ or the entire alternate molar is of ten in crossbite to ameliorate the direction of forces, when esthetics isn't a concern.

OCCLUSAL FORCES

Natural teeth have a lesser stress relieving element than implants, particularly under sideforces.However, the occlusal scheme uses those teeth to distribute the vertical loads during mandibular excursions, If healthy anterior teeth or natural doggies are present.

The stomatognathic system elicits lower force when the posterior parts aren't in contact. thus, whether the anterior member is teeth supported or implant supported, the posterior factors should be discluded in all side excursions when opposing fixed dentitions. The attendant side forces are distributed solely to the anterior parts of the jaws to drop

the volume of force against the anterior and posterior dentition. This also eliminates each side forces on posterior implants.

thus, whenever fixed partial dentures are seated upon dental implants, it's generally possible to achieve hindrance occlusal connections with either canine guidance or group function. It has been demonstrated that muscle exertion is reduced with canine guidance, also appertained to as cuspid defended occlusion. still, this situation isn't generally observed, except in youthful cases. Group function is more frequently observed in senior cases. With this type of occlusion, it's also possible to achieve a harmonious balance of all involved structures including the musculature, the TMJ, the teeth and their occlusal deconstruction.

In implant retained, mucosa brone overdentures in the nib and/ or beak, stabilisation of the prostheses during neutral function in the posterior parts demands a completely equalized occlusal scheme( bilaterally balanced occlusion).

NATURAL TEETH AND IMPLANTS

The success of a rigid fixated implant splinted to natural teeth is governed by the factual capability of the implicit natural abutments. In the implant- tooth fixed prosthesis, the implant, tooth, bone or the prostheses may contribute movement to the system.

The tooth movement ranges from 8 to 28 in a perpendicular direction under a 3 to 5 pound force, depending on the size, shape, figure of the roots and the time ceased since the last cargo operation. As the difference in perpendicular movement may be around 25 the original occlusal connections should regard for this or the implant will be loaded further than the conterminous teeth. thus, thin articulating

paper is used for the original occlusal adaptation in centric relation occlusion under a light tapping force. The implant prostheses should slightly communicate , and the conterminous teeth should parade lesser connections. only axial connections should be present on the implant crown. A heavier centric relation occlusal force is also applied. me connections should remain axial over the implant body, and may be of analogous intensity on the implant crown and conterminous teeth.

When the occlusal adaptation is completed in centric relation occlusion, the side and intrusive movements may be estimated. When opposing a fixed dentition, no posterior implants or teeth should communicate in any digressive mandibular movement. The vertical movement of natural anterior teeth ranges from 64 to 108. An implant has a side movement range of 12( thick bone) to 140( in veritably soft bone). When a combination of non splinted anterior teeth and implants are present in the anterior region of the beak or nib, the forces produced during mandibular side excursions should be distributed originally and primarily to the naturalteeth.However, two or further splinted implants should distribute the side force, If no anterior teeth are present in the direction of the excursion.

BONE RESORPTION

In an edentulous crest with abundant height and range and little resorption, the implant may be placed in an ideal position for occlusion and esthetics. A cement retained restoration permits situating the implant body directly under the primary block contact. An implant is stylish deposited in the middle of the remaining range of bone or slightly towards the further thick bone of the lingual plate. As a result, the implant is placed under the central fossa region of the natural tooth. To load the implant body in an axial direction, the primary occlusal contact should be in the central fossa region, which permits posterior mandibular natural teeth opposing

the maxillary implant to have the Mandibular buccal cusp as the primary contact. Mandibular implants opposing maxillary natural teeth must use the maxillary lingual cusp as the primary contact.xillary lingual cusp as the primary contact.

In conditions where the bone continues to resorb from the facial aspect to further decrease the bone width, the implant is often placed under the lingual cusp portion relative to the natural tooth in the mandible or the maxilla. The implant body is ideally placed perpendicular to the occlusal plane.  In the mandible, the buccal cusp is reduced in height to correspond to the central fossa, and the occlusal table is reduced from the facial aspect to permit axial loading of the implant body. In the maxilla, the implant crown should retain the offset buccal cusps for aesthetics. However, the mandibular occlusal table is modified to permit axial loading of the maxillary implant body and the maxillary occlusal table may be reduced lingually.

In the anterior maxilla, the labial concavities may cause the implant to be angled away from the labial bone and fiche abutment toward the facial crown contour. These implants are loaded on an angle, and an angled prosthetic abutment is needed. Larger diameter implants or more implants are needed to reduce crestal bone stress.

Thus, the implant body is placed in the middle of the edentulous crest of the bone, which is in the central fossa region or even more lingual. Due to this, the natural teeth occlusal concepts have to be modified, so that the primary occlusal contact is axial to the implant body, not the buccal cusp of the mandibular natural tooth.

## Occlusal Stresses And Biomechanical Considerations

One of the principal objective in implant prosthodontics is reduction of occlusal loads and accordingly reduction of transmitted stresses to the supporting osseous structures . Utilising the three – dimensional finite element stress analysis method several endosseous implants were investigated for stress distribution and transmission within the implant and their osseous supporting structures . A representative blade shaped implant and four root shaped implants (TPS implant core –vent  implant, Nobelpharma implant and ISIS implant) were  investigated using a loading condition of 5 pounds vertical load and 8 pounds lateral load (a combination of 5 pounds vertical and 3 pounds horizontal loads). Principal stresses compressive and tensile were analysed both vertically and horizontally for all five implants.

Based on these studies the following conclusions are drawn

- Root – shaped implants because of their cylindrical shape minimise transmission of stresses to supporting bone better than blade shaped implants.

- Implant neck or prosthetic post diameter should be enlarged to implant fixture diameter whenever possible. Implant with narrow (or constricted)  necks or posts should be avoided.

- Blade shaped implant should be redesigned to increase the neck diameter and central portion of the blade to minimise the transmission of stresses to supporting bone.

- Alveolar crestal bone loss (saucerization). Which occurs around implant fixtures, appears to be directly related to transmission to the osseous tissues in this region of stresses that exceed  the tolerance of bone.

Based on these findings and those of other researchers guidelines should be established for selecting the appropriate type of implant for a given patient. The physical and psychological state of the patient and his or her prosthodontic requirements may be very important in determining certain aspects of the loading condition and biting  forces. Since these factors are not easy to determine the biomechanical aspects of implant design and how the individual implant transmits stresses to its supporting bone must be considered when selecting an endosseous implant when placing the endosseous implant and when designing occlusion during the prosthetic phase of the implant treatment.

## Occlusal Considerations

The precusor signs of occlusal trauma on natural  teeth are usually reversible and include sensitivity, hyperemia or and increase in mobility. The presence of the periodontal  membrane on natural teeth significantly reduces the amount of stress to the bone, especially in the crestal region.

However the initial reversible signs and symptoms of trauma on natural teeth do not occur with endosteal implants. An  absence of soft tissue interface between the implant body and bone results with the greatest magnitude of force localized around the implant is not  reversible with out the surgicla intervention. And results in decreased implant support and increased sulcus  pocket depth. This leads to implant loss unless the density of the bone increases or the amount or duration of the force decreases.

Implants are subjected to repeated occlusal loading that can lead to microscopic stress fractures work hardening and fatigue. Implant components copings screws or cement can not adjust to these conditions and ultimately fracture. Forces from occlusion may result in subtle changes that are difficult to discern but may cause  more serious ling terms problems for survival as a result of bone or implant component complications.

## Axial Implant Loading

The direction of load to the implant body is a very critical factor. the primary force of occlusion should be directed to the long axis of the implant body and not the abutment post as this leads to less distribution of force to the surrounding crestal bone.  To achieve this goal during the planning phases the localixation and axis orientation of the implant should be determined according tot this principle and carried out during the surgical phase with the help of guiding stents. The following principle may be applied depending on whether the axis orientation of the implants is more to the buccal or to the lingual aspect:

- the centric stop should be located in the central fossa of the crown that is affixed tot he implant or the implant abutment should be located directly beneath the cusp (Graber, 1985).

- the implant should be positioned such that it represents an extension of the force vector of its antagonist.

- the width of the  occlusal  surface should be considerably reduced compared to natural teeth and for bio mechanical reasons, occlusal contacts should be localized with in the diameter profile of the  underlying implant.

## Angled Abutments

Are mainly used to meliorate the path of insertion of the prostheses. A 30º angled abutment loaded in the abutment long axis will transmit lower compressive and tensile stresses to the crest of the bone around the implant body compared to the same implant with and angled abutment loaded in the direction of the long axis of the implant body. The lower the angle between the primary force and the implant body, the lower is the amount of crestal compressive and tensile stresses with a rigid fixed implant. The side loads to the implant crestal region further increase when crown height increases or when present on the cantilevered portion of the prostheses.

Thus, whenever possible, the implant bodies should be primarily vanquished to the vertical element of the occlusal weight. Vertical or side forces magnify the amount of compressive or tensile stresses at the transosteal implant spots, and so should be reduced or barred, especially when the rate of the crown height to implant length is lower than 1 or present on cantilevered prostheses.

Premature Connections

Premature occlusal connections results in localized loading of the opposing reaching crowns. A premature contact provides minimal area to distribute the loads, and the stress is greatly increased. All the occlusal forces is applied to one region rather than being shared by several abutments or teeth. The premature contact may be on an inclined airplane, giving a lower perpendicular force to the weight and adding compressive and tensile crestal stresses. therefore elimination of premature connections is especially important with habitual parafunction as the amount, duration and direction of force or the weight increase.

OFFSET LOADS

These are generally facial or lingual occlusal connections, and not along the long axis of the implant body. Occlusal connections are rarely placed over an occlusal access hole for a managing screw, because acrylic swiftly wears out and results with no contact. thus neutralize loads are generally used when occlusal screws are used in the prostheses.

For aesthetic factors, in a screw retained prostheses, the implant body is placed more lingual than for a cemented prostheses. The neutralize occlusal weight is applied slightly facial to the implant body and parallel to its long axis. A cement retained restoration may place the implant directly under the primary occlusal contact. The crown may load the implant body in an axial direction, due to which lower neutralize loads are present on cement retained prostheses than in screw retained restorations. When neutralize connections have an angled force, the distance of the neutralize connections acts as a moment arm and magnifies the effect of the side force.

When two or further implants are placed to support a screw retained prostheses, the intermediate frame ridges and pontics may have further medium primary occlusal connections, constantly in the central fossa region rather of the usual mandible buccal cusp contact. This eliminates the neutralize weight between the implants, and the occlusal loads between the implant bodies are in a farther axial direction.

Anterior implants with abutments for cement place the implant body under the incisal edge of the prostheses, whereas those for screw retained implants are constantly placed more lingual. So the access hole is in the cingulum region. Greater neutralize loads affect during side excursions, as the incisal edge is more facial. To drop the effect of side force during mandibular excursions, natural teeth when present bear thetopmostload.However, further than one implant should distribute the side weight, If this is not possible.

In detail, the principles followed are-

1. Axial loads to the implant body produce lower compressive and tensile stresses.

2. Vertical loads produce an increase in both compressive and tensile stresses.

3. Premative connections affect in lower stresses, constantly on side inclines of cusps.

4. Screw retained prostheses constantly have implant bodies more lingual compared with cement retained prostheses, and results with lower neutralize loads.

I D E A L O C C L U S I O N

I

deal occlusion can be defined as an occlusion compatible with the stomatognathic system, furnishing effective mastication and good aesthetics without creating physio- sense abnormalities as stated by Hobo in 1978. Guichet34 in 1970 described morals for ideal occlusion as the following

Criteria 1 Incorporate in the occlusion those factors which have to do with the reduction of vertical stress.

Criteria 2 give for maximum intercuspation of the teeth with the condyles in centric relation.

Criteria 3 give for perpendicular movement of the beak from the centric related intercuspal position, until those teeth most suitable of bearing the perpendicular weight come into function.

There is no bone ideal occlusal pattern for all individualities but an applicable pattern can be set up predicated on the below criteria. Accepted ideal occlusal schemes include balanced occlusion, mutually defended occlusion, and group function occlusion.

BALANCED OCCLUSION

Balanced occlusion has all teeth contact in maximum intercuspation and during eccentric mandibular movements. It has been appertained to as a fully balanced or bilateral balanced occlusion and said to be ideal for restoration with complete dentures. This occlusion is used constantly in osseointegration prosthetic treatment.

Balanced occlusion refers to simultaneous tooth connections during eccentric movements according to Scaife and Holt in 1969. It also occurs when side occlusal forces generated during the movements are shared by all teeth and temporomandibular joints as stated by Granger in 1954, and Kaplan, 1963. The masticatory movement for balanced occlusion is predicated on the proposition that forces are generates horizontally rather of vertically. Masticatory movement generated dangerous side forces on teeth that are mischievous from a periodontal viewpoint. To reduce side pressures, they should be distributed considerably to limit the forces physiologically. For these reasons, a maximum contact area in intercuspation and all eccentric movements is necessary. This balanced distribution of forces is said to help maintain oral health.

# Balanced occlusion is grounded on the three classic propositions Bonwill’s three points of occlusal balance according to Bonwill in 1858, Spee’s wind of spee according to Spee in 1890, and Monson’s globular proposition according to Monson in 1922.

# Lucia in 1961 described the failures of a balanced occlusion as follows

# 1. The cusp- to- fossa connections exists only in part of the molar connections. The bicuspid cusps function in the opposing alcoves, making wedging and tooth drifting possible.

# 2. There are large areas of tooth contact and broad occlusal shells.

# 3. In such a “ tight ” occlusion, slight changes produce a readily visible distinction.

# 4. crimes in full – mouth balance are crimes of commission, not elision.

# 5. When a restoration is completely balanced, gash is constantly delicate.

# 6. In order to produce a full balance, it may be necessary to increases the perpendicular dimension to a dangerous degree.

# Occlusal face wear and tear due to redundant contact area was allowed to be the crucial cause of failure. Granger in 1962 described that occlusal face wear and tear doesn't do when the occlusal shells are acclimated barring cuspal interferences during eccentric movements. still wear and tear was ineluctable when the teeth remained in contact during movements.

# A balanced occlusion in natural dentition with normal periodontium is delicate to find. When seen, it's generally the result of advanced waste. For illustration, cross bow balance in balanced occlusion is effective for stabilisation of complete dentures. still, the ill goods on natural dentition have been noted by Ramfjord and Ash in 1966 and Posselt in 1962.

# Another review of balanced occlusion is that it's delicate to fabricate. Granger stated that balanced occlusion fabricated on a completely malleable articulator provides completely balanced connections within functional movements, but the connections are lost in extreme eccentric movements. A balanced occlusion is applicable for edentulous patient treatment but is delicate to make on natural dentition.

# Mutually defended Occlusion

# In 1961 Stallard and Stuart supported a balanced occlusion as the optimum occlusion for oral recuperation. After numerous cases' treatments failed, they misdoubted balanced occlusion should be the ideal occlusion. They observed that the molars didn't communicate during eccentric movements but in maximum intercuspation, they communicated while the anterior teeth had no connections. The molars were said to be responsible for bearing the perpendicular occlusal loads. Stallard set up anterior teeth cover posterior teeth and posterior teeth cover anterior teeth. The conception of a mutually defended occlusion was grounded on this observation.

# A mutually defended occlusion occurs where the posterior teeth cover the anterior teeth in centric position. The centric stops on the posterior teeth also help help redundant lading transferred to the temporomandibular common structures. The incisors cover the canine and posterior teeth during intrusive movement and the doggies cover the incisors and posterior teeth during side movements. This is felt to be the ideal occlusion for natural dentition and perpendicular dimension is maintained by posterior teeth. Lucia described advantages of a mutually defended occlusion as the following “ minimal quantum of tooth contact is involved and this makes penetration of the food more. A cusp- to- fossa relationship produces an interlocking of the upper and lower factors, thereby giving maximum support in centric relation in all directions. The force is easily near to the long axis of each tooth. The arrangement of the borderline, transverse, and oblique crests so that they've a shearing action, which makes for a much more effective chewing outfit. ”

# Anatomical substantiation to support the canine as a crucial element includes the good crown- to- root rate, the quantum of hard, compact bone girding the tooth, and the position far from the temporomandibular joint, therefore entering lower stress. The doggy has numerous receptors in the periodontal ligament and it has been said that the canine controls side pressures by directing perpendicular masticatory movements. A mutually defended occlusion is contraindicated when the masticatory cycle is vertical and the periodontium is compromised.

# Another contraindication to a mutually defended occlusion is in the situation with a missing canine or a prosthetic canine Lucia tutored that when anterior teeth are strong, a mutually defended occlusion is used and a balanced occlusion is used when anterior teeth are missing. Interim prosthetic treatment can use a balanced occlusion but the final prosthetic treatment should have a mutually defended occlusion.

# In 1974, Dawson stated when doggies can not be used, side movements have posted disclusion guided by anterior teeth on the working side, rather of the doggies alone; he called this the anterior group function.

# Another disadvantage of a mutually defended occlusion is arbitrary quantities of posterior disclusion. Thomas in 1967 stated that when each cusp is waxed using cusp- fossa waxing, a cusp- to- cusp relation during side movement has 1 mm posterior disclusion. In 1961 Stuart and Stallard stated by avoiding cuspal interferences during eccentric movements, this created a minimal quantum of disclusion to ameliorate masticatory function.

# The term mutually defended occlusion was changed to organic occlusion by Stallard and Stuart in 1961, also described by Thomas in 1967. In organic occlusion, centric relation position and maximum intercuspation are coincident. The posterior teeth are in a cusp- fossa relation, one- tooth to one- tooth contact. Each functional cusp connections the occlusal fossa at three points while the anterior teeth disclude by 25 microns. In intrusive movement, the maxillary four incisors guide the beak and disclude the posterior teeth. In side movements, the lingual face of the maxillary canine attendants along the distal grade of the mandibular canine and also mesial crest of the first premolar facial cusp

# Group Function Occlusion

In 1929, Schuyler   introduced the fundamentals of group function occlusion. This type of occlusion occurs when all facial ridges of working side teeth contact the opposing dentition while the nonworking side teeth do not contact.  In 1954 Beyron  listed characteristics of this type of occlusion :

- Teeth should receive stress along the tooth long axis.

- Total stress should be distributed among the tooth segment in lateral movement.

- No interferences occur from closure into intercuspal position.

Keep proper interocclusal concurrence.

5. Teeth contact in side movement without interferences. He felt that no bone occlusion could serve as a general base for every individualities

Characteristics of group function occlusion include 1) the proposition of long centric, 2) the conception of all working side teeth participating side pressures during side movements, and 3) the conception of nonworking side teeth free from connections during side movements. Long centric is a0.5-0.75 mm free space between maximum intercuspation and centric relation position without changing perpendicular dimension of occlusion.

In group function occlusion, side pressures are distributed to all working side teeth, in discrepancy to a mutually defended occlusion where side pressures are directed only to the working side doggy . Schuyler felt all working side teeth should bear the side pressures during side movement by barring nonworking connections.

In group function occlusion, there are no tooth connections on thenon-working side. Schuyler observed masticatory movement and set up that when the beak is closed, the mandibular buccal cusps communicate the facial crests of maxillary lingual cusps and the cusps aren't held in a stable position. Group function occlusion doesn't have the dangerous goods as seen with a balanced occlusion and isn't as delicate to fabricate as a mutually defended occlusion. Group function occlusion was felt to be a thing for occlusal adaptations and has easy operation in short- span prostheses

In 1974, Dawson described five generalities important for an ideal occlusion

1. Stable stops on all teeth when the condyles are in their most superior posterior position( centric relation).

2. An anterior guidance that's in harmony with the border movements of the envelope of function.

3. Disclusion of all posterior teeth in intrusive movements.

4. Disclusion of all posterior teeth on the balancing side.

5. Noninterference of all posterior teeth on the working side with either the side anterior guidance or the border movements of the condyles.

Occlusion For Osseointegrated Prostheses

Since there's no bumper effect between institutions and bone, occlusal forces are transmitted directly to bone through the osseointegrated prosthesis. These forces aren't limited to masticatory forces but also include impact forces.

Cusp height can help ameliorate masticatory effectiveness, but exaggerated inclinations may beget cuspal interferences as stated by Belser and Hannam in 1985. Since masticatory movement is generally a perpendicular movement, the cusp shapes and inclinations impact the movement. With steep cuspal inclinations, there's an increase in the Vertical element of mastication. With low cuspal inclinations, there's an increase in the side rudiments of masticators movements.

Since normal mastication occurs vertically, making sharper cusps in a prosthesis can increase the shear strength. Biting a tenacious food gelcap creates a stronger side element, adding the shear strength between mandibular and maxillary molars. Balanced occlusion was developed to increase the shear strength during mastication but has not always been effective clinically.

still, balanced occlusion would have acceptable shear strength and masticatory effectiveness, If the beak moved rigorously like an articulator. still, since the condyle fragment assembly contains soft towel rudiments, occlusal forces applied during mastication can beget mandibular divagation. A balanced occlusion creates cuspal interferences so to avoid this, incorporate disclusion into the occlusal scheme. In the mechanical engineering field, it's better to give 5- 10 free space between edges for better shear strength, analogous to the space between cutting atomic of scissors. This analogy can be applied to disclusion in dentition.

Balanced occlusion can serve well in complete dentures since the dentures are supported by portable towel that has a bumper effect for occlusal forces. Denture wear and tear with 0 to 30 degree cusp inclines show lower disclusion compared to natural dentition. In osseointegrated prostheses, institutions bear perpendicular forces better than vertical forces so it's preferable to direct forces vertically. A single institution can bear occlusal forces original to a single confirmed natural tooth. generally there are no institutions available in the posterior region to support vertical loads. For this reason, disclusion is preferred in prosthetic restoration of posterior osseointegrated implants. Since further vertical loads are generated in the anterior region, longer institutions are used and restored with attachments to natural teeth.

These guidelines attempt to drop cuspal interferences and reduce vertical or side stresses on the institutions.

General occlusal scheme

The conception of occlusion suitable for osseointegrated prostheses is principally the same as the gnathologic occlusion. In centric, all of the posterior teeth should have connections, and anterior teeth should have a concurrence of about 30m.However, it'll be easier to establish such an occlusion, If the entire bends are restored with osseointegrated prostheses similar as a completely bone- anchored ground. In the mixed dentition, which is composed of natural teeth and osseointegrated bridgework, it becomes more complicated to gain a good occlusion. The natural tooth sinks roughly 30 m during is function. An osseointegrated ground, which is supported only by the bone, doesn't sink. thus, it's necessary to acclimate the centric connections of the osseointegrated fixed ground slightly more open than the natural teeth. Consequently, in centric, the osseointegrated ground shouldn't communicate with opposing teeth under the soft bite pressure. Under strong bite pressure, the ground should communicate after the natural tooth intrudes roughly 30 m. The osseointegrated ground begins to communicate after the contact of all the natural posteriorteeth.However, all the occlusal cargo will be borne only by the ground and will load the bone structure, If the osseointegrated ground is acclimated to communicate at soft bite pressure under the hard bite pressure. In order to avoid the overloading of the occlusal face he osseointegrated prosthesis shouldn't have aeroplane - to- fossa tripodal contact, is preferred. During eccentric movement, in order to minimize vertical lading the conception of disclusion is generally recommended. Canine- guided occlusion isn't recommended for the osseointegrated prosthesis because it generates inordinate occlusal forces into the single implant institution, which is placed in the canine area. In order to distribute the stress over the entire institution, anterior group function is recommended.

Therefore, anterior group function and posterior non-segregation are recommended for osseointegration prostheses. The degree of intervertebral disc observed when the condyle is 3 mm off-center at the mesiobuccal apex of the mandibular first molar is as follows.

1) The average interposition of the protrusions is 1.1 = 0.6 mm.

2) The disc inclusion amount on the non-machined side is 1.0 = 0.6mm.

3) The amount of wear on the working side is 0.5=0.3mm. These numbers can be used to determine the amount of disc required for an osseointegrated prosthesis.

Classification of osseointegration prostheses

Osseointegration prostheses can be classified as:

1) The bridge is fully anchored to the bone

2) Overdenture

3) Independent bridge

A. Kennedy Class I

B. Kennedy Class II

C Kennedy Class III

D. Kennedy Class IV

4) Bridges connected to natural teeth

5) Single tooth replacement

## Occlusion for fully bone anchored bridge

## In the case of edentulous jaws, bridges that are fully anchored to the bone are used. It is highly effective against the mandibular arch as there are no anatomical restrictions on placement of the device between the left and right mental foramen. Four to seven devices are typically placed in this area to which the prosthesis is attached. The bridge can be extended backwards up to 15-20mm.

## Due to the anatomical limitations of the nasal and sinus floors, it is not easy to fabricate a fully bone-fixed bridge to the maxilla. In addition, the bone structure of the maxilla is also deteriorated. If maxilla is present, typically 6-7 appliances can be placed mesial to the first premolar and the full bony bridge screwed into the appliance. It can be extended backwards up to 10mm.

## Mutual protective occlusion is recommended for occlusion of fully bone-fixed bridges. In the central area, a distance of 30 mm is required between the anterior tooth area and the central stop of the lateral teeth. Disc closure should be used to remove harmful horizontal tension. To avoid load localization, it is necessary to exploit the function of the front group. The anterior guidance should be made slightly flatter than the natural teeth to avoid overstressing the appliance. This reduces the degree of disc clotting.

## Occlusion for overdentures

Overdentures are often used in edentulous upper jaws. Even if the patient has poor bone structure in the upper canine region, there is often bone available for instrumentation. It is usually possible to place an appliance in this area, and the two appliances can be joined together to create an overdenture. Due to its overdenture feature, this prosthesis is suitable for the maxillary arch as it provides excellent voice function, facial support and aesthetics. A mandibular overdenture is typically used for patients who cannot afford many braces. The recommended occlusion for overdentures is a perfect balance occlusion with tongue occlusion. For edentulous maxillary overdentures and mandibular bridges fully anchored to the bone, it is recommended that the posterior teeth are in contact while the central spacing of the anterior teeth is small.

## Occlusion for freestanding bridges

Kennedy class I – bilateral case

For the Kennedy class I situation, both sides of the arch are restored by osseointegrated bridges, and they maintain the vertical height.  As mentioned earlier, the osseointegrated prosthesis does not sink during function.  The clearance of anterior teeth should be smaller than the one given to natural teeth.  The amount of disclusion required for this case is the same as in the natural dentition because anterior guidance is provided by the natural dentition.

Kennedy class II – unilateral case

The Kennedy class II situation is ideal for the osseointegrated freestanding bridge because the contralateral side of the arch will maintain the vertical height, while the other side is restored by the osseointegrated bridge.  In centric, the posterior osseointegrated bridge should have 30 m open contacts, while anterior teeth also have 30 m openings, and it begins to contact under strong bite pressure.  In the Kennedy class II situation, because the anterior teeth are natural teeth, they can bear the occlusal load safely.  The amount of disclusion suggested for this case is the same as for a natural dentition.

Kennedy class III

The Kennedy class III situation is also ideal for osseointegrated implants because vertical height is maintained by natural teeth.  In centric, the osseointegrated bridge only contacts under strong bite pressure.  Eccentric movement is guided by the natural dentition.  The amount of disclusion suggested for this case is the same as for a natural dentition.

Kennedy class IV

Kennedy Class IV cases require an anterior free-standing bridge and are another indication for an osseointegrated bridge. An 8-unit fixed front bridge allows him to be supported by 4 fixtures without creating a pivot point.

In Kennedy Class IV cases, the posterior disc is controlled by an osseointegrated bridge. Group function occlusion is preferred to minimize horizontal stress on the implantation site. Lateral movement allows the rear teeth on the working side to support horizontal loads while protecting the non-working side. During forward movement, the osseointegrated bridge guides the mandible to form the posterior disc. The anterior guidance should be flatter than the natural dentition to minimize stress on the appliance during protrusion movements. The recommended amount of disc closure in this case is 0.8 mm overhang. Non-working side 0.4 mm. Actuation side 0.0mm.

Fixed anterior bridges do not sink like natural teeth, so the distance between the anterior teeth should be greater than that of the natural anterior teeth (> 30 μm).

Connection for natural teeth

When restoring a bridge using a single appliance, the mesial end of the bridge should be attached to the natural tooth to prevent loosening of the screws due to rotation of the bridge. As mentioned above, natural teeth cave in during their function, but osseointegrated implants do not. Implants are most stressed and overloaded under occlusal loading when osseointegrated implant prostheses and natural teeth are tightly connected. To avoid this, non-rigid connectors are often used. A matrix (keyway) is placed at the distal end of the retainer and is supported by the natural teeth. A key connected to the osseointegration bridge fits into the keyway. Natural teeth can therefore be lowered freely without affecting the osseointegrative bridge.

However, it has been found that natural teeth are permanently dented, creating a gap between the lock and keyway. Pressing down on natural teeth can jam the key and keyway. When this happens, the natural tooth will be permanently recessed.

To avoid this phenomenon, some suggest using telescoping crowns to connect the osseointegration bridges. However, it was again found that the cement connecting the outer and inner crowns had degraded, leaching the cement and accumulating plaque. It is now recommended to use rigid rather than non-rigid connections between osseointegration bridges and natural teeth. This causes root ankylosis of the abutment tooth, which can lead to root resorption or alveolar bone resorption. this is slow.

Occlusion for single tooth replacement

In most cases, replacement of one tooth is required in the upper anterior region. This is contraindicated in the posterior region as the screws often loosen when the restoration is heavily loaded. There should be a distance of 30 μm in the central region of the anterior teeth. For premolars, contact should only be made under heavy load.

During eccentric movement, the anterior restoration must contact the opposing tooth to form the anterior group feature. This eccentric contact is important to prevent protrusion of the opposing tooth. For premolars, the restoration should slide during eccentric movements and avoid lateral loading.

Method to obtain proposed disclusion

The posterior tooth closure is created by the rotation angle of the hinge and the cusp form factor. A posterior disc occurs when the anterior lead is steeper than the condylar path. Eccentric motion causes the lower jaw to rotate around the hinge axis. This is called the hinge rotation angle. However, if the molar cusp slope is parallel to the anterior guide, no posterior dehiscence will occur, even though the anterior guide is steeper than the condylar path, creating an angle of rotation for the hinge. Posterior teeth are separated only if the molar cusp slope is parallel to the condylar path and the anterior guide is steeper than the condylar path. Thus, the shape of the cusp has a great influence on the occlusion of the back teeth. If the shape of the posterior leaflet is less steep than the condylar trajectory, posterior break-off will occur even if the anterior guide is parallel to the condylar trajectory. It is important to remember that joint cusp tilt and joint rotation angle contribute to posterior exclusion.

Hobo introduced his two methods of achieving correct termination of the prosthesis. There are computer-assisted and manual methods. In the first step, a specially programmed computer (Anteroputer, J Morita, Inc.) is used to calculate the adjustment values ​​for the incisal table from the condylar trajectory output data obtained from the computer pantograph. The second method, also called the twin-table technique, uses two incisal tables to create molar talks. This is a relatively straightforward technique and does not require special equipment. The following steps briefly describe this technique.

1. Measure the condylar path using pantographs or interocclusal recordings. Adjust condyle settings. The path of the working condyle on the articulator should be adjusted so that the working condyle moves straight along the hinge axis. This ensures harmony between anterior guidance and condylar guidance.

2. Build an upper study model with a detachable front. Attach the study model to the articulator. Resection of the anterior part of the upper jaw. The articulator is then eccentrically moved to eliminate interference that prevents smooth sliding motion (perfectly balanced occlusion). If the tooth structure is poor, add wax to improve contact. As a result, the cusp form factor matches the condylar path.

3. A flat incisal table is used and the incisal pin is eccentrically moved to mold the chemically cured resin. These are referred to without exception as incisal tables.

4. Use the study model as an intraoral guide to remove interference and complete the preparation. After taking an impression and creating a working model, a maxillary model with a detachable front part is made. Attach the working cast to the articulator, remove the anterior segment from the maxillary working cast, and wax the posterior occlusal segment with an eccentric motion using the 'incisor table without discussion'. This forms a cusp form factor that causes the inclination of the molar cusp parallel to the condylar tract.

5. Once posterior wax removal is complete, place a 3 mm spacer behind the articulator condyle to simulate a lateral position. Place a spacer of specified disc thickness (1 mm in natural dentition) on the non-acting side of the mesiobuccal apex of the mandibular first molar and another spacer (0.5 mm in natural dentition) on the operative side. Masu. This simulates lateral motion with disc crusion. Close the articulator. Make a resin cone between the stump pole and the stump table. This establishes the angle of rotation of the hinge to achieve the specified degree of blockage during lateral movement. Repeat this process on the other side. 6. Next, place 3 mm spacers behind the left and right condyles of the articulator to simulate a protruding position. Use spacers of the correct thickness (1.1 mm for natural dentition) on the mesiobuccal apex of the left and right mandibular first molars to simulate anterior movement with the intervertebral disc. Make a resin cone between the stump pole and the stump table. This creates a hinge rotation angle for a given amount of rejection during the thrust motion. We have previously described the amount of intervertebral disc recommended for different types of osseointegration prostheses.

7. Join the three cones with additional resin to form the walls. Add more resin and eccentrically move the articulator to complete the three-dimensional incisal table. This completes the "incisal table with disc closure". 8. Reposition the anterior segment onto the maxillary model using the discotomy table. Complete the anterior wax-up by moving the articulator in an eccentric motion. This sets the angle of rotation of the hinge, and the posterior restoration creates the desired degree of disc formation.

The final prosthesis manufactured using two methods yields a restoration with a predictable amount of posterior disc and anterior guidance that matches the condylar trajectory.

Occlusal restorative materials

# The materials used to restore the occlusal surface of the osseointegration prosthesis are resin, porcelain and gold. Osseointegration implants have no periodontal tissue. Therefore, resin is recommended for occlusal restorative materials to absorb impact forces. Resin has high elasticity and is the best material for absorbing occlusal stress. Resin teeth can be used to construct fully bone-fixed bridges and overdentures. Plastic teeth are strong enough to give good results. However, if the occlusal surface of the bone-fixed bridge is covered with composites, it breaks easily and he collapses within a year. The strength of composite resin veneers is insufficient to withstand the stressors caused by the use of osseointegration implants.

# Porcelain veneers are often used for single tooth replacements and free-standing bridges. It has sufficient strength to withstand bite loads. If the opposite arch has natural dentition, this material will grind away the tooth structure. Porcelain is not elastic. Therefore, when this material is used as an occlusal restorative, it does not absorb stress like resin teeth. Another material used as an occlusal restorative material for osseointegration implant prostheses is gold. Gold has high strength and some elasticity. It is much softer than porcelain and does not damage the opposing tooth structure. Very precise machining is possible. The downside of gold is that its color is not beautiful. When porcelain or gold is used as occlusal restorative material for osseointegration implant prostheses, it is important to provide disc closure during eccentric motion. In this way, unnecessary horizontal loads can be avoided. The lateral teeth touch only in the middle, and the anterior teeth should have some play. By minimizing the size of the central contact area, occlusal impact forces can be reduced.

# Occlusal design and material

### According to the Dentist's Desk24 Reference, many implant failures can result from improper occlusal design, which concentrates stress on the bone and can lead to rapid bone resorption. In East Germany, certain rules are recommended for determining the correct occlusal design of implant prostheses.

### 1. Cusp design and crown orientation should be such that stresses are directed along the long axis of the implant. Lateral stress should be avoided or at least minimized.

### 2. The width of the occlusal surface of the implant crown should be minimal. If possible, the occlusal table should not be wider than the root width of the implant.

### 3. The cusp height should be minimized to reduce lateral loading on the implant. The occlusion table should be relatively flat and provide only centric functionality. Alignment of the crown and implant root is a key prosthetic requirement so that the occlusal load is directed along the longitudinal axis of the implant. Studies of stress in various implants and their supporting tissues point to the negative effects of lateral loading on implant mounting. The loads transferred to the supporting bone in these studies were excessive compared to those generated by vertical loading. Lateral loading can lead to high stresses in the crestal bone structure that exceed the tolerance of the bone and cause bone resorption in the peri-implant neck region.

### Another criterion for determining the correct occlusal design is the minimum width of the implant crown. According to DDR, the occlusal table should not be wider than the root of the implant in order to minimize the occlusal load on the implant holder. The equal occlusal surfaces of the implant crown and implant root allow for optimal stress transmission along the device. A wide occlusal table on a narrow implant root can transfer concentrated loads to the supporting bone structure through the implant mount, causing the bone structure to harden and be resorbed.

### Cucus height is another factor for establishing correct occlusion of implant prostheses. Cusp height and cusp angle are closely related to the width of the occlusion table. The DDR guidelines state that the cusp height should be minimized to ensure only central function, reducing lateral loading on the natural dentition and fixed prosthesis implant mounts and their supporting bone tissue. says. Proper cusp height and tilt are determined by proper contact with the cusp fossa (elevation of the cusp triangular to triangular ridge of the central groove). As the cusp height and angle decrease, the centric stop creates a wider occlusal contact area, reducing lateral guidance and loading. Since the fixation of osseointegrated implants functions differently than natural teeth with periodontal ligaments, the dentist should design the occlusal surface with a minimum cusp height and minimum occlusal table width.

### There are several references in the literature to the use of resins as the occlusal material of choice in implant prostheses. The authors suggested the use of plastic because it absorbs shock, thereby reducing stress on the implant mount and the bone structure supporting it. Skalak explained: “In the superstructure, a rigid prosthesis is preferable to a flexible prosthesis, which can be supported by osseointegrated implants and distribute the load on the abutment more effectively. The use of shock-absorbing materials such as acrylic resins in the can provide sufficient impact protection for a strong and tight connection between the osseointegration implant and the supporting bone.

### In osseointegration implants supporting metal bridges without the use of soft materials, high impact forces can reach peak forces sufficient to fracture the supporting bone. To mitigate such peak forces, the energy should be distributed over a softer layer. Material placed in the driveline. Plastic tooth-shaped resins have a much lower modulus of elasticity than metals and provide internal damping to reduce forces on the implant. In the natural state of teeth, shock absorption is achieved by the periodontal ligament and the occlusal surface consists of enamel or an equivalent hard or hard restorative material. A recent publication on the occlusal force of patients with osseointegration implant-supported dentures found that the occlusal force of these patients was significantly greater than that of patients with complete dentures, twice that of patients with cantilever fixed partial dentures, and that the occlusal force of denture patients was significantly higher than that of patients with cantilever fixed partial dentures. reported to be equivalent to force. Although it is a natural dentition, the frequency of mastication increases. In edentulous or edentulous conditions, the limiting factors of occlusal forces are the innate self-protective properties of individual tissues, especially proprioceptive mechanisms such as periodontal sensitivity to positional movements and resistance to force impacts. Terminals (mechanoreceptors) are sensitive to mechanical stimuli and can distinguish forces of different magnitudes and directions. The bite force must be within the permissible limits of the supporting structure. Therefore, it can be speculated that the sensitivity of the periodontal ligament in edentulous individuals helps keep the occlusal force within the tolerance of the tooth support structure. In the edentulous condition without periodontal hypersensitivity, a similar limiting factor to the occlusal forces transmitted by full dentures is the mucosal resistance to these forces, and denture wearer occlusal forces are similar to those of individuals with natural teeth. lower than the bite force. Patients with implant-supported prostheses (without periodontal and mucosal hypersensitivity) have been found to have increased occlusal force, and this increase threatens the longevity of the implant when the crestal bone is overloaded. there is a possibility.

### A N T E R I O R    G U I D A N C E

# The trajectory of the incisal tip during eccentric movement of the mandible is called anterior guidance. The length is 2.0-5.0mm. The trajectory of the incisal point during protrusion movement is called the incisal protrusion path and reflects the lingual concavity of the upper incisors. The lingual surfaces of the maxillary incisors exhibit both concave and convex surfaces, the latter clinically referred to as the cingulum. The incisal edge of the mandible should contact the lingual surface of the maxilla when transitioning from concave to convex in a centrocentric position. The recess represents a uniform shape. The trajectory of lateral movement from side to side is called the lateral incisor trajectory, also known as the canine lead.

# Condylar Path And Anterior Guidance Relation

### Anterior guidance is determined by the vertical and horizontal overlap of the anterior teeth to guide mandibular movement. The mandible resembles an inverted tripod, with two hind legs representing the left and right condyles and a third leg representing the anterior teeth (shown by Guichet 1970). These three elements control her three-dimensional position of the lower jaw. As Boderson pointed out in 1978, anterior guidance is primarily determined by the lingual surfaces of the maxillary anterior teeth, which control the posterior intervertebral disc during eccentric movements. Various methods have been described to establish forward guidance, but they are all qualitative in nature and few quantitative studies have been published by Weinberg, Schuyler and Lee. As a result, Dawson's 1974 front lead was determined by a clinical trial-and-error procedure.Determination of amounts of disclusion

### Amount of disclusion for osseointegrated implant

Individual anterior guide tables are used only for anterior tooth restorations. If the anterior teeth are not restored, the teeth themselves act as a guide for the front edge of the articulator when the posterior teeth are restored.

If both anterior and posterior teeth are fully fabricated on a fully adjustable articulator, all condylar guides should be adjusted prior to fabricating the custom guide table. With such a correctly programmed articulator, the movement of the mandible can be reliably reproduced on the model. Rather than recording the condyle motion and interpolating the tooth motion from the condyle trajectory, the feature generation path technique can be used to plot the condyle trajectory three-dimensionally at the site of the tooth itself. When creating the back teeth using a later adjustable articulator, individual anterior guide tables can be created in any desired condylar path. An adjustment of 20° horizontally and 15° laterally ensures rear blockage even with flat front guides. Arbitrary adjustment results in posterior non-separation, as healthy joints are found to be stationary most of the time unless there is severe remodeling of the condyles or flattening of the condylar tract.

Before fabricating the custom anterior guide table, the impression must be mounted in an articulator with a face bow and the condyle tracks must be established.

The use of a customized anterior guide table is one of the most reliable and practical procedures available in restorative dentistry. However, it is only logical if the forward guidance replicated in the mouth is correct.

Customized Anterior Guide Table

### Individual anterior guide tables are used only for anterior tooth restorations. If the anterior teeth are not restored, the teeth themselves act as a guide for the front edge of the articulator when the posterior teeth are restored.

### If both anterior and posterior teeth are fully fabricated on a fully adjustable articulator, all condylar guides should be adjusted prior to fabricating the custom guide table. With such a correctly programmed articulator, the movement of the mandible can be reliably reproduced on the model. Rather than recording the condyle motion and interpolating the tooth motion from the condyle trajectory, the feature generation path technique can be used to plot the condyle trajectory three-dimensionally at the site of the tooth itself. When creating the back teeth using a later adjustable articulator, individual anterior guide tables can be created in any desired condylar path. An adjustment of 20° horizontally and 15° laterally ensures rear blockage even with flat front guides. Arbitrary adjustment results in posterior non-separation, as healthy joints are found to be stationary most of the time unless there is severe remodeling of the condyles or flattening of the condylar tract.

### Before fabricating the custom anterior guide table, the impression must be mounted in an articulator with a face bow and the condyle tracks must be established.

### The use of a customized anterior guide table is one of the most reliable and practical procedures available in restorative dentistry. However, it is only logical if the forward guidance replicated in the mouth is correct.

### R E M O U N  T      P R O C E D U R E S

Remount procedure is a term that describes the final procedure -needed to refine the occlusion on a prosthesis. Use a remount record to reposition the prosthesis on an articulator and complete occlusal adjustments to enhance the accuracy of occlusion.  In complete denture treatment, remount procedures help reduce soreness and restore the proper occlusal contacts since the occlusal pattern influences mandibular movement.

It is impossible to avoid all errors during clinical and laboratory procedures such as distortion of impression materials, dental labstone, interocclusal records, alloys, and resin materials.  With osseointegration prostheses, each adjustment requires removal of the prosthesis and all gold screws. This can be time consuming and can be avoided if occlusal adjustment is done on the articulator prior to delivery.

The adjustment procedures help distribute occlusal contacts, reducing occlusal interferences as stated by Laurell and Lundgren in 1987. By distributing the contacts, the forces are better distributed especially on cantilevered segments of fully bone anchored prostheses where local forces can be great . Based on these reasons, it is best to do remount procedures and adjust and refine the occlusion indirectly.

# Remount Procedure For Fully Bone  Anchored Prostheses

Remount procedures for fully bone anchored prostheses are similar to freestanding fixed partial dentures. A remount impression is not necessary since the fully bone anchored prosthesis is a single unit. Connect abutment replicas to the fully bone anchored prosthesis and secure with gold screws. Use a base-former and submerge the retentive tips of the abutment replicas into a smooth mix of stone. Make a facebow record to mount the maxillary remount cast and a remount interocclusal record to mount the mandibular cast.  Follow all procedures for gig aqua—in the laboratory and clinic.

# INTRAORAL EXAMINATION

# Occlusal examination

After completing the reassembly procedure, connect the fully bone-fixed prosthesis intraorally to the abutment using gold screws. Check the patient for centration and eccentricity disturbances following the same procedure as for the articulator. Slowly manipulate the mandible as follows:

1. Do not force the lower jaw backward. Guide the mandible so that the condyle is fixed anteriorly and superiorly within the fossa. Instruct the patient to maintain this posture.

2. Have the patient slowly close their mouth until the first light contact is made. The operator should check the early contact area. 3. Ask the patient to fully close and note the direction of movement as the mandible slides into maximum occlusion.

Once premature contact is found, place occlusal alignment strips and confirm contact. Adjust the tooth contact by marking the contact area with articulating paper.

Eccentric movements are adjusted in a similar way to articulators. Adjust the cusp interference in the lateral position as follows:

1. Ask the patient to open their mouth slightly. Move the lower jaw laterally so that the tips of the canine teeth are directly opposite each other.

2. Instruct the patient to make light contact and then fully close to maximum insertion.

3. Identify side position clashes.

Adjust cusp interference in protrusion motion.

1. Instruct the patient to protrude the lower jaw and guide them into the end-to-end position.

2. Instruct the patient to make light end-to-end contact and then slide to maximum occlusion.

3. Identify disturbances caused by protrusion motions. The final step is to check the simultaneous contact from rest position to center relationship. A prerequisite for an ideal occlusion is to ensure a normal occlusion without interference, especially when the occlusion is applied to an osseointegratedprosthesis.

R E V I E W    O F    L I T E R A T U R E

In 1983, Richard Skalak attempted to analyse the macroscope stress distribution and load transfer mechanisms where close apposition of bone to titanium implants occurred at the microscopic level.  He concluded that;

- The close apposition of bone to titanium implant is an essential feature that allows a transmission of stress from implant to the bone without any appreciable motion or abrassion.  The absence of any intermediary fibrotic layer allows transmission of stress without any change to the bond between bone and implant.

- The use of a threaded screw provides a form of interlocking with the bone on a macroscopic scale that allows full development of the strength of the bone in shear or compression. Unlike a smooth, cylindrical implant which may require an adhesive bond.

- The distribution of a vertical or lateral load applied to a fixed partial denture depends on the number, arrangement and stiffness of abutment fixtures used as well as the form and stiffness of the fixed prosthesis itself.  In general, a stiff fixed prosthesis will distribute loads to several fixtures more effectively unlike the cantilevered ends of a fixed partial denture where loading on the first screw nearest the cantilevered end may be increased.  Moderate overchanges may be tolerated if the fixtures are sufficiently strong.

- A tight connection of the fixed partial denture to fixtures provide a combined structure that act in concert with the bone to provide a greater strength than that of the fixture or jaw bone alone.

- The osseointegrated implant provides a direct contact with bone and therefore transmit any stress waxes applied to the fixtures.  Thus, it is advisable to use a shock – absorbing material such as acrylic resin in the form of acrylin resin artificial teeth in the fixed partial denture.  This allows for the development of a stiff and strong sub structure with adequate shock protection on its outer surface.

In 1984  J . B . Brunski and J. A. Hipp studied the in vivo forces on dental implants.  Methods are presented for measuring vertical force components or bridged titanium dental implants in dog mandibles.  These methods have included custom-made strain-gauge transducers, plus hard-wiring and telemetric schemes for data collection.  The essential components of the measurement system are described, and typical bite force data are illustrated.

In 1984 M.  Arcan and F. Zandman described a method to evaluate in vivo qualitative occlusal strain and stress analysis on dental implants. A method to evaluate in vivo dental occlusal relationships by measuring strains and stresses, memorized in a thin water during occlusion, is presented.  The method is based on the property of some polymers to memorize mechanical birefrigence (the photo-plastic phenomenon) ; it provides and records static and kinematic patterns related to the sequence of contacts during occlusion.  This sequence determines the intensity levels of contacts according to impressions on the memorizing sheet.  The method consists of observing and measuring, with an optical instrument, birefringence patterns appearing on a special memory sheet upon which a patient has occluded according to specific instructions.  Two ways may be considered: the strain analysis and the stress analysis approach.  The goal of the strain analysis approach is mostly clinical: to help attain harmonization of the static and kinematic occlusal patterns by detecting and eliminating prematurities and interferences through a step-by-step improvement of the strain uniformity.  Other clinical uses include: Relating occlusal strain patterns to traumatic occlusion, bruxism or other functional disturbances.  Diagnosing pain-dysfunction syndrome of supporting tissues in subjects with removable complete or partial dentures.  Substantiating the comparative effect of supporting implants in combination with natural teeth in bridges, etc.  The goal of the stress analysis approach is both clinical and theoretical, providing help in understanding the temporo-mandibular mechanical relationship.

In 1987 D. Lundgren et al discussed the occlusal force pattern during mastication indentitions with mandibular fixed partial denture supported on osseointegrated implants. The occlusal force pattern during chewing and biting was studied in eight edentulous patients whose dentitions had been restored with mandibular bilateral posterior two-unit cantilever fixed prostheses supported on osseointegrated titanium fixtures and occluding with complete maxillary dentures.  The chewing pattern was comparable to that reported for subjects with complete healthy dentitions or with tooth-supported cross-arch fixed partial dentures.  However, during chewing and swallowing the voluntary capacity of the jaw-closing muscles was used to a much greater extent.  Contrary to reports for cantilevers in tooth-supported cross-arch unilateral posterior two-unit cantilever fixed partial dentures occluding with natural teeth, the posterior cantilever segments in the present fixture-supported cantilever prostheses occluding with complete dentures regularly exhibited the largest local forces.  Despite this, material failures of this type of fixed prostheses are rare, as demonstrated in long-term follow-up studies.

In 1989, B. Rangert,  T.  Jemt and L  Jorneus carried out a study on the forces and moments on Branemark implants. The placement of fixtures (implants) in relation to the geometry of a prosthetic restoration has a great influence on the mechanical loading of the implant.  Based on theoretic consideration and clinical experiences with the Branemark System, this article gives simple guidelines for controlling these loads.  The emphasis is on design rules that can be used in clinical practice.  With the Class I lever as a reference, various clinical implant prosthesis situations are discussed and evaluated.

In 1989, R.J. Chapman explained the principles of occlusion for implant prostheses.  A recently developed computerised device referred  to as the T-scan which uses both time and force to quantify occlusal contacts in used .The occlusal design for implant prostheses removable and fixed have been  described. Bilateral balance is prescribed for implant retained mandibular prostheses and opposing maxillary denture. If maxillary denture is also implant retained can be guidance is recommended . For an implant retained fixed prostheses bilateral simultaneous contact is most important . Lateral disclusion factors should be  prescribed when implant s are used as abutments and remaining  natural teeth can   tolerate  stresses of occlusion . When this is not so anterior disclusion ever canine  areas should be developed . The length of the cantilever should not be more than 20mm as it will minimize torque to the most posterior implant abutment.

The T-scan accomplishes the follows goals of implant prosthodontic occlusion :-

- Bilateral simultaneous contact at the time of insertion

- Smooth even working contacts with n0 interfering contacts in retruded or no intercuspal position.

- Equality of force of the final contacts .

- Records of monitoring occlusal contacts over time for bilateral simultaneous contact and force distribution .

In 1991,  M. W.  Parker reviewed the occlusal consideration sin restorative dentistry.  The major topics include the assessment and treatment of occlusal wear, the controversies surrounding treatment position of the mandibular condyles, occlusal  considerations in osseointegrated prostheses, the two-way relationship between occlusal factors and temporomandibular disorders, design criteria and longevity studies in resin-bonded, fixed-partial dentures.

In 1992, B. R. Lang and M. E. Razzoog discussed the lingualized integration for edentulous implant patients.  The interface of bone and soft tissue to dental implants has been extensively documented, while the influence of biomechanics and the occlusal interface continues to be overlooked.  Yet that same occlusal interface may ultimately be the prime factor in the lifetime survival rate of dental implants.  What is lacking, for the practitioner, is a clear concept of the occlusal rehabilitation which is required and appropriate for the totally edentulous implant patient.  Lingualized integration represents an occlusal scheme using specific tooth molds designed to improve the likelihood of maximum intercuspation and an absence of deflective occlusal contacts, provide cusp height for selective occlusal reshaping, and achieve a natural and pleasing appearance.  Factors in the articulation and arrangement of the posterior teeth to assure the attainment of the fundamental goals of comfort, function, and appearance in occlusal rehabilitation for edentulous implant patients are included.

In 1992, B. Keough explained the occlusal consideration in periodontal prosthesis.  The objectives in establishing a physiologic occlusion for periodontal-prosthetic patients are: (1)  the minimization of lateral forces on the teeth and (2)  the direction of occlusion is not an objective for this type of patient; rather, stability, with freedom of movement, is the goal.  This paper gives an indepth discussion of these objectives and provides an additional look at dental implant therapy and occlusion.

In 1992, Bruggenkate et al discussed the various indications for angled implants. As angulation problems due to anatomic limitations may exist the use of angled  bone fit ITI implants were described. An ITI bone fit implants system includes an angled two part hollow cylinder implant. Indications for their used include a single tooth replacement  in the maxilla, a distal extension edentulous maxillae, and alignment problems resulting the shape of the jaw.

In  1992,  H. J. A. Meijer et al innertogated the stress distribution around dental implants by the use of a two dimensional model of the mandible with two  implant. A vertical load of 100N was imposed on abutment s or the bar  connection. The stress was calculated for a number of substructure under different loading method. The length of the implant and height of the mandible were also varied. A model with solitary abutments showed a more uniform distribution of the stress when compared with a model with connected abutment. The largest compressive stress was also less in the model without the has using shorter implants did mot have a large influence on the stress around the implants.  When the height of the mandible was reduced a substantially larger stress was found in the bone around the implant because of al larger coverall deformation of the lower jaw.

In 1993, James De Boer discussed the edentulous implants an emphasised that the occlusal contacts of the final fixed restoration are affected significantly by implant position. Lateral occlusal forces, and may lead to abutment screw fracture. They may be due to either excessive lateral occlusal pressure or  a malposed implant that requires  non axial loading during normal function.

In 1993,  W.  Schulte and D.  Lukas used the Periotest to monitor osseointegration and to check the occlusion in oral implantology.  This paper reports on Periotest, its technique’s history, and its possible applications.  Periotest is a new diagnostic method, developed by an interdisciplinary research group embracing dentists, physicists, mathematicians, and computer engineers.  Periotest will-apart from periodontal questions-mainly assist oral implantology.

In 1993, T. R. Katona  et al evaluated the force moment systems on single maxillary anterior implants . The effects of incisal guidance fixture orientation and loss of bone support was studied.  An engineering model of maxillary single anterior implants was developed to calculate the force-moment systems resulting from occlusal contacts.  Analysis of a clinical example showed that flattening the incisal guidance and/or placing the implant in a more upright position reduced the moment and the labial component of the force but increased the intrusive component.  The calculations are applicable to the design of implants and may help in the long-term evaluation of clinical success.

In 1993,  H. W. Denissen et al described the occlusion for maxillary dentures opposing osseointegrated mandibular prostheses.  This paper presents a combination of several occlusal concepts designed to contribute to the successful use of maxillary dentures in opposition to osseointegrated mandibular prostheses.  To ensure a positive outcome when designing such an occlusion, three factors must be considered:  patient satisfaction, maxillary anterior bone preservation, and mandibular arch shortening.  It is recommended that for centric occlusion the molars have a lingual contact occlusion, the premolars have a buccal contact occlusion, and the anterior teeth have an open occlusal relationship.  For an eccentric occlusion, a balanced articulation is favoured instead of mutually protected occlusion.

In 1994,  J. V. Reitz described lingualised occlusion  is implant dentistry. Occlusal requirements for implant prosthodontics, as well as the advantages and disadvantages of two occlusal schemes are discussed.  Based on the requirements of fixed reconstruction, the concept of lingualized occlusion with anterior guidance is presented as an ideal occlusal scheme for many implant cases. It embodies the established requirements for fixed implant prosthesis, eases fabrication, and simplifies intraoral adjustment procedures.

In 1994, C. E. Misch and M. W. Bidez discussed  an implant protected occlusal on a biomechanical rationale. The clinical success and longevity of endosteal dental implants are controlled, in a large part, by the mechanical milieu within which they function.  The occlusion is a critical component of such a mechanical environment.  “Implant-protected occlusion” refers to an occlusal schema that is often uniquely specific to the restoration of endosteal implant prostheses.  Implant orientation and the influence of load direction, the surface area of implants, occlusal table width, and protecting the weakest area are blended together from a biomechanical nationale to provide support for a specific occlusal philosophy.

In 1995, D. Wismeijer et al discussed  the occlusal concepts when making implant supported and implant retained mandibular over dentures.  The dentate or edentulous conition of the maxilla plays a significant role in this respect.  If the maxilla is edentulous, balanced occlusion is indicated.  In a maxillary Kennedy class I or II situation, either group function or balanced occlusion is advocated depending on the characteristics of the opposing dentition.  When a complete dentition is present in the maxilla or in the case of a Kennedy class III or IV situation, mutually protected occlusion or group function is recommended depending on the length, position, and number of implants.  It is stressed that detailed preimplant placement diagnosis and treatment planning are essential to obtain a high standard of treatment with overdentures supported and retained by implants.

In  1996, J. A. Hobkink et al studied the influence of occlusal scheme on masticatory force using implant stabilized bridges.  The objectives of this study were to determine the effects on masticatory forces of using implant stabilized mandibular bridges with occlusal schemes providing either balanced or unbalanced articulation.  The investigation was carried out in a group of six subjects who had dentate, or restored dentate maxillary arches and who used implant stabilized mandibular prostheses.  Peak masticatory forces, chewing frequency and load rate were determined when chewing bread, carrots and nuts.  The mean peak masticatory force varied markedly from subject to subject, and, together with the masticatory load rate were lowest when eating bread and highest when chewing nuts, with values for chewing carrots between the two.  There was not detectable difference in mean peak masticatory force or load rates associated with chewing bread with the two occlusal schemes: however, these were lower with balanced occlusion when chewing nuts and carrots.  The ranking of subjects in terms of mean peak masticatory force and load rate was consistent and peak load rates of up to 2000 N/sec were recorded.  Chewing frequency was relatively consistent for a particular subject irrespective of the foodstuff.

In 1996, Sertgoz and Guvener carried out a study of finite element analysis of the effect  of cantilever and implant length on stress distribution in a implant supported fixed prostheses . They concluded that in all cases , maximum stresses are concentrated at the most distal bone/ implant interface located on the loaded side of the terminal implant . Increasing cantilever length results in greater stress values.

# S U M M A R Y    A N D   C O N C L U S I O N

That there are inherent differences between natural and artificial occlusion should be clear . Force exerted on one tooth or on a series of teeth on the teeth on the denture have a  direct effect on the entire prosthesis . Natural teeth are well-suited to withstand forces of ;occlusion because of  the unique configuration of the periodontal ligament. Non vertical forces applied to natural teeth may not be detrimental to the supporting apparatus .

The principles of occlusion for osseointegrated prostheses include the following :

1.	Vertical dimensions of occlusion must be established by accepted techniques

2.	Anterior guide.

3.	Centric relation, myocentric occlusion maxillary intercuspation, multiple simultaneous bilateral  contact s for stability.

4.	Contacting movements canine or group function on working side .

The design of occlusal surface may vary with the design of the oral rehabilitation. If a mandibular tissue integrated prosthesis opposes a maxillary complete denture the occlusion is more likely to be balanced bilaterally. Where  two tissue integrated prostheses oppose one another canine protected or group function would be accepted. The loading of and osseointergrated implant is determined by the type of dentition and occlusal scheme of the opposing arch. A tissue borne removable prosthesis delivers much less strain to opposing fixed partial dentures than does  a full complement of natural teeth  Thus a tissue integrated prosthesis opposing natural teeth or a fixed restoration must be protected by using material s and a design that damp the occlusal load. The fabrication of conventional tooth-to- bone fixed and removable bridges follow principles of occlusion traditionally related to periodontal ligament support: how ever because osseointegrated implants rely on direct  contact with bone with no intervening connective tissue the traditional concepts may not apply. It of therefore important to keep an open mind as more is learned about the principles of osseointegration.

Implants are alloplastic devices that transmit occlusal stress. Candidates for implantation require a routine occlusal evaluation The opposing arch is checked for the curve of Spee  and Wilson and for the presence of supraerupted  or tipped  teeth. The patient is checked for sufficient intermaxillary space; adequate vertical height is needed for proper retention of an implant supported  prostheses. To improve the prognosis lateral forces on the implant must be minimized, for example by establishing anterior guides or group function occlusion with posterior implants. If implants are to oppose a complete denture bilaterally balanced occlusion is usually desirable. The dentist should select rigid materials to restore full arch maxillary implants. O rings used most commonly in over denture application can absorb  some of the occlusal shock.

Optimal occlusion should insure a stable myocentric functional pattern of the masticatory system that avoid undue strain or injury to any structures. It should be self-perpetuating inevitable change in occlusion with function and age should be favorable to occlusal development.

Davis said that the issue of maintenance and follow up care are critical, “Only with frequent post reconstruction occlusal  referrals can the operator be sure of eliminating all stressful occlusal disharmony”.

# B i b l i o g r a p h y

- Albrektsson, T., Jansson, T., Lekholm, U.:  Osseointegrated implants.  Dent Clin North Am, 30: 151-177, 1986.

- Brown-TA; Anuszkiewicz-MA; Woody-RD : A procedure for modifying the occlusal surface of an all cast implant restoration. J-Prosthet-Dent.  1992 Sep; 68 (3): 555-6.

- Brunski-JB; Hipp-JA : In vivo forces on dental implants:  hard-wiring and telemetry methods.  J-Biomech.  1984; 17 (11): 855-60.

- Buggenkate : Indications for angled implants.  J. Prosthet. Dent. 1992, 67 : 85

- Chapman R. J : Principles of occlusion for implant prosthesis : Guidelines for position, timing and force of occlusion of QI  vol 20 # 7 / 1989 pg 473-480.

- Chapman-RJ; Kirsch-A : Variations in occlusal forces with a resilient internal implant shock absorber.  Int-J-Oral-Maxillofac-Implants.  1990 Winter; 5 (4): 369-74.

- Cibirka  : Determining the force absorption quotient for restorative materials used in occlusal implant surfaces.  J. Prosthet. Dent. 1992, 67 : 361.

- De Boer James : Edentulous implants – Overdentures v/s fixed.  J.Prosthet. Dent. 1993, 69 : 386.

- Denissen-HW; Kalk-W; van-Waas-MA; van-Os-JH : Occlusion for maxillary dentures opposing osseointegrated mandibular prostheses. Int-J-Prosthodont.  1993 Sep-Oct; 6 (5): 446-50.

- Glossary of Prosthodontic Terms, J Prosthet Dent, 1984.

- Hobkink-JA; Brouziotou-Davas-E : The influence of occlusal scheme on masticatory forces using implant stabilized bridges. J-Oral-Rehabil.  1996 Jun; 23 (6): 386-91.

- Jemt, T.:  Modified single and short-span restorations supported by osseointegrated fixtures in the partially edentulous jaw.  J Prosthet Dent, 55:243-247, 1986.

- Kaplan, RL.:  Gnathology as a basis for a concept of occlusion. Dent Clin N Am, pp. 577-590, 1963.

- Kaukinen-JA; Edge-MJ; Lang-BR : The influence of occlusal design on simulated masticatory forces transferred to implant-retained prostheses and supporting bone.  J-Prosthet-Demt.  1996 Jul; 76 (1): 50-5.

- Kohno, S., Nakano, M.:  The measurement and development of anterior guidance.  J Prosthet Dent, 57:620-625, 1987.

- Lang-BR; Razzoog-ME : Lingualized integration:  tooth molds and an occlusal scheme for edentulous implant patients.

- Laurell, L., Lundgren, D.: Interfering occlusal contacts and distribution of chewing and biting forces in dentitions with fixed cantilever prostheses.  J Prosthet Dent, 58:626-632, 1987.

- Lundgren, D., Laurell, L., Falk, J., Ericsson, I.:  Occlusal forces and osseointegrated implants.  In van Steenberghe, D. (ed.):  Tissue integration in Oral and Maxillo-Facial Reconstruction.  Amsterdam: Excerpta Medica, 1986.

- Misch-CE; Bidez-MW : Implant-protected occlusion: a biomechanical rationale.  Compendium.  1994 Nov; 15 (11): 1330, 1332, 1334 passim; quiz 1344.

- Mongini, F.:  Anatomical and clinical evaluation of the relationship between the temporomandibular joint and occlusion. J Prosthet Dent, 38:539-551, 1977.

- Parker-MW : The significance of occlusion in restorative dentistry.  Dent-Clin-North-Am.  1993 Jul; 37 (3): 341-51.

- Reitz-JV : Lingualized occlusion in implant dentistry. Quintessence-Int.  1994 Mar; 25 (3): 177-80.

- Reitz-JV : Lingualized occlusion in implant dentistry. Quintessence-Int.  1994 Mar; 25 (3): 177-80.

- Schuyler, C.H.:  An evaluation of incisal guidance and its influence in restorative dentistry. J Prosthet Dent, 9:374-378, 1959.

- Sertgoz and Guvener : Finite element analysis on stress distribution of implant prosthesis. J. Prosth. Dent – 1996, 76 : 165.

- Skalak R :Bio mediclinical considerations in osseointegrated prosthesis. J Prosthet  Dent 1983; 49: 843.

- Spee, F.G.:  The condylar path of the mandible along the skull.  Arch Anat Physio, 16:285-294, 1890 (in German):  J Am Dent Asso, 100:670-675, 1980 (English translation).